## Sheet1
CAT instrument run at San Francisco General Hospital Department of Surgical Research
2011-10-06
Objective: run control data comparing different CAT reagents with coag normal plasma
and coag abnormal plasmas on CAT serial number 374-2874
looking at PPP 1pM TF reagent vs PPP 5pM and PPP 20pM TF also clinical samples with and without TM
original data file name: 00_111006A_01.dat
final volume (ul) |  |  |  | 90
trigger or calibrator reagent to add to each well (ul) |  |  |  | 15
FluCa to add to each well (ul) |  |  |  | 15
Trigger reagent used (e.g. PPP Low, PPP 5pM, PPP High) |  |  |  | see below
Volume Fluo-Buffer to add (ul) |  |  |  | 2600
Volume Fluo-Substrate to add (ul) |  |  |  | 65
INSTRUCTIONS: | replace example plate map from below with actual plate map used during demo/training run | [11 empty] | replace reagents used below with actual trigger reagents used during demo/training run
| Trigger | Trigger | Trigger | Calibrator | Calibrator | Calibrator | Trigger | Trigger | Trigger | Calibrator | Calibrator | Calibrator | Left Trigger | Right Trigger
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | norm | norm | norm | norm | norm | norm | 541a | 541a | 541a | 541a | 541a |  | PPP low (1pM TF) | PPP (5pM TF)
B | norm | norm | norm |  |  |  | 541a | 541a | 541a |  |  |  | PPP (5pM TF) | PPP (5pM TF + TM)
C | norm | norm | norm |  |  |  | 605a | 605a | 605a | 605a | 605a |  |  | PPP (5pM TF)
D | abn | abn | abn | abn | abn | abn | 605a | 605a | 605a |  |  |  | PPP low (1pM TF) | PPP (5pM TF + TM)
E | abn | abn | abn |  |  |  | 1220a | 1220a | 1220a | 1220a | 1220a |  | PPP (5pM TF) | PPP (5pM TF)
F | abn | abn | abn |  |  |  | 1220a | 1220a | 1220a |  |  |  |  | PPP (5pM TF + TM)
G | 436a | 436a | 436a | 436a | 436a | [7 empty] | PPP (5pM TF)
H | 436a | 436a | 436a | [9 empty] | PPP (5pM TF + TM)
CONCLUSION:
observed general increase in ETP, VI, peak height with between comparable plasmas as a function of [TF], decreases were seen by addition of TM
INSTRUCTIONS: | replace yellow cells below with rows 3-15 and columsn B-end from .ana file
in order to summarize data and calculate the velocity index (use copy/paste special/values)
test plate:
Groupname | 14493 1PM 1 | 14493 5PM 2 | 14493 20 PM 3 | 14497 A1 1PM 4 | 14494 1PM 5 | 14494 5PM 6 | 14494 20 PM 7 | 14497 5PM 8 | 14495 1PM 9 | 14495 5PM 10 | 14495 20PM 11 | 14497 20PM 12 | 14496 1PM 13 | 14496 5PM 14 | 14496 20PM 15
Lagtime | 4.33 | 2.44 | 1.33 | 4 | 4.67 | 2.67 | 1.33 | 2.44 | 5.78 | 3.56 | 2 | 1.33 | 4.33 | 2.78 | 1.33
LagtimeSD | 0 | 0.16 | 0 | 0 | 0 | 0 | 0 | 0.16 | 0.16 | 0.16 | 0 | 0 | 0 | 0.16 | 0
ETP | 858.33 | 1273 | 1442.33 | 0 | 532 | 1201.33 | 1307.33 | 1234 | 0 | 1424 | 1588.33 | 1362.67 | 0 | 990.33 | 1201.67
ETPSD | 8.06 | 49.52 | 107.44 | -1 | 3 | 27.64 | 40.27 | 63.41 | -1 | 13.49 | 21.82 | 44.34 | -1 | 50.63 | 24
Peak | 80.81 | 193.17 | 337.35 | 38.01 | 45.07 | 209.66 | 336.6 | 129.06 | 44 | 173.95 | 339.9 | 306.92 | 38.43 | 138.74 | 287.14
PeakSD | 0.74 | 13.47 | 2.93 | 3.07 | 1.26 | 19.96 | 4.41 | 14.61 | 0.84 | 3.05 | 5.33 | 3.96 | 2.21 | 15.03 | 3.18
ttPeak | 9.67 | 5.89 | 3 | 13.17 | 10.17 | 5.78 | 3.33 | 6.67 | 12.67 | 7 | 4 | 3.33 | 10.67 | 6.33 | 3.33
ttPeakSD | 0.27 | 0.31 | 0 | 0.5 | 0.17 | 0.16 | 0 | 0.47 | 0 | 0 | 0 | 0 | 0.27 | 0.27 | 0
StartTail | 35.67 | 24.33 | 18.67 | 0 | 30.5 | 22.67 | 17 | 31 | 0 | 29.67 | 20.67 | 19.33 | 0 | 26.67 | 17.67
StartTailSD | 0.47 | 0.47 | 0.47 | -1 | 0.5 | 1.25 | 0 | 1.41 | -1 | 0.47 | 0.47 | 0.94 | -1 | 1.7 | 0.47
Edited | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Active Wells | TG :A01:A02:A03 Calib :B01:B02:B03 | TG :C01:C02:C03 Calib :D01:D02:D03 | TG :E01:E02:E03 Calib :F01:F02:F03 | TG :G01:G02 Calib :H01:H02:H03 | TG :A05:A06 Calib :B04:B05:B06 | TG :C04:C05:C06 Calib :D04:D05:D06 | TG :E04:E05:E06 Calib :F04:F05:F06 | TG :G04:G05:G06 Calib :H04:H05:H06 | TG :A07:A08:A09 Calib :B07:B08:B09 | TG :C07:C08:C09 Calib :D07:D08:D09 | TG :E07:E08:E09 Calib :F07:F08:F09 | TG :G07:G08:G09 Calib :H07:H08:H09 | TG :A10:A11:A12 Calib :B10:B11:B12 | TG :C10:C11:C12 Calib :D10:D11:D12 | TG :E10:E11:E12 Calib :F10:F11:F12 | TG :F04:F05:F06 Calib :F10:F11:F12 | TG :F07:F08:F09 Calib :F10:F11:F12 | TG :G04:G05:G06 Calib :G10:G11:G12 | TG :G07:G08:G09 Calib :G10:G11:G12 | TG :H04:H05:H06 Calib :H10:H11:H12 | TG :H07:H08:H09 Calib :H10:H11:H12
Velocity Index (nM/min) | 15.133 | 55.9913 | 202.006 | 4.145 | 8.1945 | 67.4148 | 168.3 | 30.5106 | 6.3861 | 50.5669 | 169.95 | 153.46 | 6.0615 | 39.0817
% ETP inhib by TM | [7 empty] | 94.39% |  | #DIV/0! |  | 85.79%
INSTRUCTIONS: | replace yellow cells below with rows 17-end and columns B-end from .ana file
in order to graph CAT data (use copy/paste special/values)
time | 14493 1PM 1 | 14493 5PM 2 | 14493 20 PM 3 | 14497 A1 1PM 4 | 14494 1PM 5 | 14494 5PM 6 | 14494 20 PM 7 | 14497 5PM 8 | 14495 1PM 9 | 14495 5PM 10 | 14495 20PM 11 | 14497 20PM 12 | 14496 1PM 13 | 14496 5PM 14 | 14496 20PM 15
1 | 0.18 | 0.37 | 3.96 | 0.33 | -0.09 | -0.06 | 0.76 | 0.76 | -0.06 | 0 | 0.18 | 3.22 | -0.07 | 0.13 | 0.42
1.33 | 0.25 | 0.56 | 33.85 | 0.33 | 0.09 | 0.34 | 10.7 | 2.22 | 0.06 | 0 | 1.03 | 20.51 | -0.07 | 0.38 | 9.94
1.67 | 0.55 | 2.41 | 109.4 | 0.76 | 0.26 | 1.06 | 60.41 | 5.2 | 0.29 | 0.43 | 8.26 | 65.65 | 0.2 | 0.76 | 51.31
2 | 0.73 | 7.73 | 210.57 | 1.2 | 0.25 | 2.18 | 160.69 | 10.61 | 0.29 | 0.74 | 36.22 | 134.81 | 0.6 | 3.3 | 129.73
2.33 | 0.18 | 17.19 | 296.34 | 1.63 | 0.76 | 6.76 | 269.24 | 19.01 | 0.64 | 0.85 | 97.01 | 208.87 | 0.33 | 8.76 | 214.38
2.67 | 0.48 | 32.7 | 340.33 | 2.39 | 1.01 | 17.96 | 337.91 | 30.91 | 0.75 | 2.39 | 182.82 | 268.52 | 0.26 | 18.09 | 273.63
3 | 2.02 | 54.15 | 341.33 | 2.83 | 0.57 | 37.62 | 351.21 | 44.74 | 0.35 | 6.37 | 267.36 | 301.73 | 0.99 | 31.71 | 295.34
3.33 | 3.24 | 78.96 | 316.89 | 3.81 | 0.91 | 65 | 326.81 | 59.16 | 0.4 | 13.42 | 326.57 | 306.27 | 1.85 | 48.48 | 285.77
3.67 | 4.77 | 103.3 | 288.36 | 5.01 | 2.18 | 96.68 | 295.56 | 73.01 | 0.93 | 24.97 | 348.08 | 291.22 | 2.51 | 66.49 | 257.54
4 | 7.39 | 127.38 | 261.86 | 6.32 | 3.18 | 128.19 | 266.17 | 85.49 | 1.33 | 41.3 | 334.56 | 266.39 | 3.44 | 83.72 | 231.66
4.33 | 11 | 148.26 | 231.47 | 8.06 | 4.6 | 156.73 | 233.52 | 96.82 | 2.08 | 62 | 311.29 | 239.91 | 5.23 | 99.44 | 210.65
4.67 | 15.84 | 164.99 | 204.42 | 9.7 | 6.69 | 180.7 | 202.27 | 106.19 | 3.01 | 84.66 | 288.5 | 215.35 | 7.09 | 112.89 | 186.67
5 | 21.79 | 179.4 | 184.35 | 11.67 | 9.19 | 197.74 | 178.29 | 114.24 | 3.7 | 105.77 | 260.31 | 191.26 | 9.08 | 123.57 | 165.12
5.33 | 28.62 | 188.56 | 163.36 | 14.09 | 12.53 | 207.55 | 157.88 | 119.92 | 4.69 | 125.35 | 232.15 | 170.41 | 11.61 | 131.15 | 147.82
5.67 | 35.65 | 192.51 | 142.98 | 16.39 | 16.37 | 209.54 | 137.32 | 123.74 | 6.43 | 142.21 | 206.95 | 149.45 | 14.42 | 135.33 | 131.84
6 | 42.9 | 191.74 | 129.68 | 18.05 | 20.36 | 205.73 | 117.82 | 126.85 | 8.46 | 155.36 | 186.24 | 132.76 | 17.56 | 138.38 | 112.82
6.33 | 49.77 | 187.42 | 115.61 | 20.15 | 24.24 | 197.58 | 103.77 | 128.31 | 11.03 | 166.34 | 166.96 | 121.43 | 20.59 | 138.47 | 100.24
6.67 | 56.06 | 181.71 | 100.71 | 22.7 | 28.12 | 186.63 | 91.97 | 129.45 | 13.94 | 172.83 | 149.39 | 108.33 | 23.5 | 133.8 | 90.36
7 | 62.1 | 173.98 | 89.95 | 24.27 | 31.65 | 173.41 | 78.95 | 125.45 | 16.93 | 174.77 | 133.33 | 94.75 | 26.36 | 129.15 | 78.6
7.33 | 67.01 | 164.1 | 82.23 | 26.39 | 34.66 | 158.97 | 68.83 | 123.45 | 20.04 | 171.87 | 121.03 | 84.46 | 28.77 | 123.65 | 70.92
7.67 | 70.9 | 153.35 | 75.05 | 27.75 | 37.15 | 144.37 | 60.19 | 123.46 | 23.53 | 171.05 | 109.16 | 76 | 30.52 | 116.98 | 63.97
8 | 74.08 | 141.7 | 64.62 | 29.01 | 39.3 | 130.26 | 55.11 | 117.68 | 26.8 | 172.22 | 94.6 | 65.73 | 32.43 | 111.43 | 55.09
8.33 | 76.54 | 129.25 | 54.37 | 30.83 | 41.73 | 117.8 | 47.23 | 114.14 | 29.51 | 165.86 | 85.91 | 60.04 | 33.74 | 104.8 | 51.35
8.67 | 78.45 | 117.03 | 48.89 | 31.78 | 42.84 | 103.71 | 41.88 | 112.61 | 32.12 | 159.83 | 80.34 | 54.32 | 34.92 | 99.11 | 43.08
9 | 80.01 | 106.79 | 48.09 | 33.17 | 43.43 | 93.5 | 38.89 | 106.81 | 34.93 | 154.37 | 71.79 | 48.14 | 36.59 | 92.33 | 35.18
9.33 | 80.67 | 98.19 | 42.44 | 34.01 | 44.29 | 84.24 | 32.25 | 101.65 | 37.41 | 147.86 | 62.45 | 44.19 | 37.39 | 84.23 | 34.2
9.67 | 80.08 | 89.46 | 35.1 | 34.19 | 44.9 | 74.85 | 26.29 | 97.74 | 38.9 | 139.81 | 58.15 | 38.35 | 38.13 | 78.69 | 29.21
10 | 79.97 | 80.26 | 32.35 | 34.93 | 45.06 | 68.7 | 22.99 | 93.99 | 40.29 | 129.58 | 52.59 | 34.22 | 38.33 | 70.85 | 26.66
10.33 | 79.24 | 70.02 | 29.96 | 35.79 | 44.78 | 59.68 | 25.74 | 87.39 | 41.58 | 122.61 | 48.46 | 29.25 | 37.98 | 65.36 | 23.82
10.67 | 77.22 | 64.77 | 25.91 | 36.87 | 44.97 | 54.18 | 19.98 | 81.97 | 42.7 | 113.67 | 44.83 | 26.65 | 38.03 | 61.14 | 20.24
11 | 76.54 | 60.59 | 22.98 | 37.07 | 44.51 | 51.12 | 13.12 | 79.13 | 42.57 | 104.51 | 39.32 | 27.28 | 38.3 | 53.73 | 19.57
11.33 | 75.23 | 54.67 | 23.07 | 37.15 | 43.05 | 43.24 | 13.56 | 72.12 | 43.16 | 97.5 | 35.08 | 23.83 | 38.15 | 49.26 | 17.29
11.67 | 70.87 | 47.85 | 16.37 | 37.34 | 41.5 | 36.96 | 12.74 | 68.44 | 44.55 | 91.36 | 31.1 | 19.73 | 37.72 | 44.65 | 13.82
12 | 66.16 | 41.91 | 13.51 | 36.63 | 41.44 | 35.38 | 11.48 | 63.97 | 44.06 | 86.7 | 35.74 | 20.32 | 37.92 | 40.79 | 15.77
12.33 | 64.37 | 38.39 | 18.53 | 37.97 | 40.81 | 31.22 | 10.81 | 58.79 | 43.75 | 76.68 | 28.33 | 18.15 | 37.2 | 38.59 | 15.32
12.67 | 63.48 | 31.66 | 15.75 | 38.96 | 39.45 | 24.65 | 9.19 | 58.14 | 43.93 | 69.51 | 26.03 | 13.64 | 35.84 | 34.34 | 10.02
13 | 62.06 | 30.8 | 10.94 | 38.02 | 38.83 | 25.89 | 4.83 | 53.57 | 43.49 | 65.63 | 21.13 | 9.36 | 35.11 | 30.86 | 7.58
13.33 | 59.65 | 32.45 | 10.69 | 36.86 | 38.59 | 23.76 | 3.66 | 46.97 | 43.86 | 58.2 | 17.94 | 11.87 | 35.65 | 29.9 | 8.14
13.67 | 56.84 | 26.76 | 10.15 | 37.17 | 36.26 | 19.4 | 5.54 | 45.72 | 43.73 | 57.12 | 25.74 | 13.69 | 35.83 | 26.12 | 9.01
14 | 54.13 | 21.41 | 5.62 | 38.4 | 34.13 | 18.28 | 5.7 | 43.01 | 43.1 | 51.1 | 7.1 | 8.06 | 33.87 | 21.72 | 7.43
14.33 | 51.3 | 20.77 | 7.38 | 38.14 | 33.71 | 17.83 | 4.71 | 38.42 | 42.65 | 45.81 | 12.25 | 10.78 | 33.34 | 18.35 | 5.05
14.67 | 50.59 | 20.42 | 11.15 | 37.31 | 33.98 | 15.54 | 2.38 | 37.29 | 42.38 | 48.66 | 23.11 | 9.02 | 32.93 | 17.76 | 3.99
15 | 47.62 | 17.61 | 6.27 | 36.47 | 32.5 | 10.51 | 2.17 | 35.65 | 41.73 | 39.26 | 10.57 | 0.82 | 31.59 | 16.59 | 5.69
15.33 | 44.48 | 14.73 | 5.12 | 36.89 | 30.93 | 10.59 | 1.75 | 30.35 | 41.07 | 33.45 | 9.2 | 6.79 | 32.04 | 15.77 | 4.99
15.67 | 40.28 | 13.3 | 5.06 | 36.98 | 29.64 | 11.22 | 1.39 | 28.65 | 40.34 | 34.36 | -0.31 | 10.97 | 31.84 | 13.51 | 2.25
16 | 37.29 | 12.23 | 2.67 | 35.67 | 27.77 | 10.51 | 2.06 | 25.95 | 39.86 | 31.04 | -2.46 | 4.92 | 29.39 | 11.87 | 3.62
16.33 | 36.76 | 9.56 | 2.41 | 35.03 | 27.48 | 7.44 | -0.23 | 23.37 | 39.95 | 29.29 | 12.16 | 3.82 | 28.59 | 13.34 | 4.01
16.67 | 34.16 | 9.01 | 2.29 | 35.35 | 24.94 | 6.67 | 0.32 | 24.57 | 39 | 26.45 | 8.76 | 3.51 | 29.11 | 10.63 | 2.93
17 | 32.69 | 10.14 | 4.45 | 34.27 | 23.65 | 8.57 | 2.27 | 23.26 | 38.24 | 24.18 | 2.59 | -6.2 | 28.52 | 8.75 | 4.85
17.33 | 29.89 | 8.34 | 3.36 | 33.75 | 21.86 | 5.28 | 0.82 | 22.83 | 38 | 22.35 | 7.51 | 3.23 | 27.41 | 9.01 | 1.17
17.67 | 28.23 | 6.37 | -0.45 | 34.4 | 20.59 | 2.08 | -0.55 | 19.42 | 37.09 | 18.67 | 6.9 | 8.24 | 25.86 | 7.47 | 1.53
18 | 25.93 | 4.68 | 1.92 | 32.83 | 21.18 | 5.94 | -0.27 | 16.53 | 36.51 | 19.07 | 5.14 | 2.33 | 26.16 | 6.46 | 3.83
18.33 | 22.91 | 5.77 | 13.27 | 32.66 | 20.8 | 6.28 | 6.11 | 15.9 | 36.25 | 17.66 | 3.37 | 7.1 | 25.55 | 5.85 | 0.47
18.67 | 21.68 | 7.4 | 9.64 | 32.13 | 19.21 | 1.44 | -2.72 | 15.42 | 34.79 | 14.5 | 2 | 3.36 | 23.46 | 4.88 | 1.63
19 | 19.81 | 4.95 | 1.03 | 29 | 17.02 | 3.02 | 0.02 | 13.5 | 31.97 | 15.36 | 5.04 | 1.07 | 23.21 | 7.8 | 0.6
19.33 | 19.99 | 1.07 | 0.04 | 29.74 | 16.35 | 3.76 | 6.45 | 10.59 | 30.96 | 14.74 | 4.36 | 1.02 | 22.13 | 3.78 | -0.67
19.67 | 19.93 | 3.39 | -0.3 | 31.17 | 16.3 | 2.76 | -3.14 | 12.57 | 31.66 | 14.22 | 3.33 | -0.3 | 21.2 | 1.2 | 1.74
20 | 15.8 | 4.74 | -0.3 | 29.7 | 15.43 | 1.95 | -9.62 | 12.05 | 32.02 | 12.16 | 2.26 | -0.3 | 20.79 | 3.79 | 3.79
20.33 | 13.43 | 2.08 | -1.53 | 28.33 | 13.53 | -1.4 | 7.91 | 7.74 | 32.41 | 10.93 | 3.4 | 3.45 | 20.91 | 3.2 | 1.54
20.67 | 13.27 | 1.72 | -12.15 | 27.79 | 12.15 | 1.37 | 2.78 | 7.7 | 30.37 | 9.6 | 1.48 | 0.7 | 19.73 | 6.95 | 1.23
21 | 12.64 | 1.19 | -10.84 | 26.64 | 11.91 | 3.31 | -13.19 | 7.98 | 29.54 | 7.12 | 0.42 | -1.3 | 17.6 | 2.61 | 0.84
21.33 | 12.16 | 1.39 | 1.66 | 24.94 | 10.73 | -1 | 9.37 | 7.08 | 29.37 | 9.79 | 4.19 | -2.66 | 18.16 | -1.41 | -0.82
21.67 | 10.63 | -0.34 | -2.6 | 24.72 | 9.97 | -0.62 | -1.69 | 11.04 | 29.33 | 8.03 | 0.76 | -0.56 | 17.8 | 0.98 | -0.51
22 | 10.08 | 1.43 | -0.57 | 24.81 | 8.7 | -0.35 | -13.13 | 7.41 | 28.68 | 5.21 | 0.37 | 2.93 | 16.18 | 0.85 | -0.63
22.33 | 9.03 | 4.47 | 15.92 | 26.06 | 8.16 | 0.32 | -14.99 | 4.53 | 28.3 | 5.05 | 1.61 | 1.53 | 15.5 | 1.21 | 0.83
22.67 | 7.73 | 1.58 | 19.32 | 25.63 | 9.29 | 1.51 | -13.05 | 7.47 | 27.01 | 6.25 | 0.83 | 1.55 | 16.14 | 0.56 | 0.28
23 | 8.23 | -0.25 | 5.92 | 22.53 | 6.64 | 0.53 | -3.95 | 5.84 | 26.14 | 5.26 | 0.83 | 0.19 | 16.02 | 0.77 | -1.15
23.33 | 7.17 | -0.7 | -2.33 | 22.34 | 5.26 | -1.04 | -4.82 | 4.45 | 26.29 | 2.83 | -0.37 | 0.72 | 15.36 | -0.11 | 0.42
23.67 | 5.79 | -0.49 | -4.21 | 22.01 | 6.74 | 0.14 | -3.04 | 3.06 | 24.63 | 8.34 | 2.34 | -2.45 | 14.09 | -0.47 | 0.95
24 | 5.47 | 0.69 | -12.45 | 20.95 | 5.99 | 1.64 | 0.67 | 4.51 | 24.28 | 6.21 | 2.5 | -9.07 | 13.5 | 0.08 | -0.78
24.33 | 6.46 | 1.1 | -15.09 | 20.4 | 5.66 | -1.99 | -2.71 | 5.12 | 24.36 | 1.07 | 0.16 | 1.08 | 13.52 | 1.42 | 0.82
24.67 | 5.89 | 1.71 | -10.21 | 17.86 | 4.59 | -1.04 | -4.71 | 2.29 | 22.96 | 4.66 | -0.95 | 5.01 | 12.85 | -0.27 | -0.85
25 | 3.6 | 0.26 | -7.76 | 19.35 | 3.74 | 0.36 | -2.51 | 4.34 | 22.04 | 5.21 | 0.05 | -0.04 | 13.49 | -1.46 | -2.68
25.33 | 2.94 | -0.09 | 0.38 | 20.48 | 3.64 | 0.1 | -3.38 | 4.23 | 22.87 | 3.9 | 0.86 | 1.35 | 11.81 | -0.88 | 2.25
25.67 | 3.53 | -0.57 | -4.18 | 19.05 | 2.58 | -1.17 | -4.14 | 2.5 | 22.51 | 3.01 | 0.52 | -1.75 | 11.14 | 0.77 | 1.85
26 | 4.53 | -2.31 | -8.06 | 17.37 | 1.41 | -2.22 | -4.75 | 4.47 | 20.65 | 10.07 | 2.59 | -0.65 | 12.53 | 1.11 | 0.11
26.33 | 2.97 | -0.61 | 3.86 | 17.63 | 2.4 | 0.47 | -1.08 | 2.84 | 20.57 | 29.78 | 0.23 | -1.42 | 12.02 | -1.45 | -0.93
26.67 | 1.65 | 0.39 | 6.64 | 15.82 | 4.03 | 0.33 | 1.22 | 2.15 | 21.12 | 22.55 | 0.66 | -0.23 | 11.42 | -1.42 | -0.27
27 | 1.41 | -0.56 | -0.93 | 14 | 2.31 | -3.21 | -3.14 | 3.22 | 19.1 | 4.59 | -0.85 | 1.82 | 10.73 | -0.17 | 0.18
27.33 | 1.67 | -1.36 | -4.11 | 16.97 | 0.48 | -1.9 | -3.75 | 2.14 | 19.36 | -9.16 | -0.17 | 0.34 | 10.36 | 0.69 | -2.34
27.67 | 3.35 | -0.83 | -0.92 | 16.86 | -0.47 | 0.52 | -2.69 | 0.96 | 19.98 | -28.92 | 2.33 | -4.92 | 10.53 | -1.34 | 0.47
28 | 1.18 | -2.29 | -2.33 | 15.41 | 0.87 | -2.12 | 0.65 | 4.26 | 19.09 | -18.12 | 0.42 | 0.86 | 8.51 | -0.25 | 0.33
28.33 | 0.11 | -3.68 | -1.94 | 14.82 | 0.78 | -1.85 | -2.62 | 2.08 | 17.98 | -2.52 | 1.34 | 6.35 | 10.39 | 0.64 | -1.43
28.67 | 1.38 | -0.45 | -0.5 | 14.34 | 0.69 | -0.05 | -7.31 | -2.76 | 18.82 | -0.22 | 0.86 | -1.95 | 10.33 | -0.94 | -0.01
29 | 1.31 | 1.68 | -2.32 | 13.62 | 1.04 | -1.99 | -3.67 | 1.55 | 17.62 | 1.11 | -4.26 | -1.35 | 9.33 | -2.11 | 2.51
29.33 | 1.15 | -0.5 | -1.5 | 13.26 | -1.77 | -3.78 | -5.83 | 3.81 | 16.07 | 1.8 | -2.2 | 0.82 | 9.41 | -0.3 | 1.64
29.67 | 0.57 | -2.8 | 2.39 | 14.38 | -2.06 | 2.16 | -2.63 | 1.91 | 17.7 | 3.89 | 4.53 | -3.03 | 8.73 | 4.39 | -1.69
30 | 0.76 | -1.28 | -0.21 | 13.92 | 1.82 | 2 | -1.4 | 0.48 | 17.38 | -1.59 | -0.91 | 0.29 | 9.75 | -3.21 | -0.3
30.33 | 1.7 | 0.58 | -1.04 | 12.8 | 0.29 | -4.92 | -2.96 | 2.42 | 16.02 | 0.53 | -2.01 | 1.45 | 8.66 | -4.46 | -2.07
30.67 | 0.79 | -0.79 | 1.42 | 13.06 | -2.1 | -4.13 | -0.73 | 3.15 | 15.54 | 2.94 | 0.66 | -2.87 | 8.05 | 1.52 | -1.08
31 | 0.45 | -1.71 | -1.42 | 13.58 | -0.73 | -2.81 | -1.78 | -0.52 | 16.16 | -2.26 | -1.98 | -5.77 | 8.13 | -2.02 | 0.84
31.33 | 0.88 | -0.36 | -0.52 | 12.09 | -3.13 | -0.7 | -2.83 | -0.02 | 16.27 | -1.11 | -0.88 | -0.61 | 8.61 | -3.21 | -2.93
31.67 | -0.29 | -0.73 | -3.48 | 12.22 | -2.53 | 9.77 | -0.8 | 2.91 | 15.92 | 2.23 | -3.03 | 3.09 | 8.93 | -1.27 | -0.85
32 | -1.03 | -1.02 | -2.64 | 13 | 0.06 | 10.07 | -1.59 | 3.79 | 14.78 | 3.73 | -0.13 | -0.89 | 9.33 | -1.47 | 0.03
32.33 | 0.09 | -2.84 | 2.23 | 11.77 | -1.91 | -1.47 | -2.96 | 1.55 | 15.99 | 0.64 | 4.43 | 0.46 | 6.13 | -0.13 | -1.03
32.67 | 1.63 | -3.2 | -0.02 | 10.64 | -1.31 | -1.77 | 0.91 | -0.85 | 15.72 | -1.43 | -1.93 | 0.8 | 7.86 | 0.26 | -1.11
33 | 0.45 | 0.4 | -2.33 | 11.41 | -1.5 | -1.98 | -0.56 | 0.83 | 13.61 | -0.03 | -2.16 | -0.68 | 9.35 | -1.68 | -1.52
33.33 | 0.72 | -1.03 | -1.94 | 13.3 | -3.13 | -0.98 | -4.87 | 2.28 | 15.04 | 1.8 | -0.63 | 1.7 | 7.24 | -1.39 | 1
33.67 | -0.98 | -1.42 | -2.47 | 11.69 | -2.2 | 3.12 | -2.71 | 2.02 | 14.77 | 2.38 | 0.64 | 6.02 | 9.21 | -2.32 | -0.94
34 | -3.18 | -0.38 | -0.28 | 10.69 | -2.27 | -11.74 | -3.63 | 1.2 | 15.02 | -0.8 | 0.56 | -1.99 | 8.28 | -2.22 | 1.98
34.33 | 0.09 | -2.79 | -1.37 | 11.07 | -2.67 | -3.99 | -5.14 | 0.9 | 14.82 | -0.66 | -1.78 | -3.98 | 7.1 | -1.03 | 1.37
34.67 | 0.53 | -2.46 | -0.42 | 9.19 | -1.84 | 7.42 | 2.95 | 0.15 | 14.33 | 2.85 | 0.1 | 1.37 | 7.9 | 0.24 | -0.89
35 | -0.66 | -0.59 | -1.87 | 10.35 | -1.13 | -1.31 | -0.02 | -0.84 | 14.43 | 2.58 | 3.19 | -0.35 | 8.3 | 0.27 | 0.36
35.33 | -0.56 | -1.81 | -2.04 | 11.35 | -3.12 | -0.3 | -5.07 | 2.33 | 14.08 | -0.66 | 1.41 | 0.22 | 8.07 | -0.6 | -3.34
35.67 | -1.14 | -1.57 | 0.95 | 10.22 | -2.96 | -1.74 | -2.59 | 3.2 | 15.3 | -1.29 | -0.56 | 0.72 | 7.05 | 0.18 | 0.03
36 | 0.85 | -0.61 | -1.17 | 11.15 | -1.9 | 0.79 | -2.52 | 1.23 | 14.65 | 1.49 | 2.37 | -1.52 | 7.45 | -2.41 | 3.22
36.33 | 0.43 | -2.04 | -0.57 | 9.77 | -2.54 | -9.59 | 0.51 | 1.63 | 12.87 | 2.2 | -0.07 | 1.76 | 8.09 | -2.37 | -1.97
36.67 | -1.45 | -1.93 | -2.14 | 10.5 | -3.74 | -1.88 | -3.93 | 0.59 | 13.65 | 0.4 | -1.47 | -1.18 | 6.99 | -1.81 | -5.29
37 | 0.03 | -1.28 | -3.21 | 12.28 | -3.46 | 7.88 | -3.44 | -0.67 | 12.69 | -0.79 | -0.19 | -3.68 | 6.91 | -0.71 | 2.52
37.33 | 1.26 | -1.74 | -0.77 | 9.27 | -2.27 | -0.19 | 0.12 | 1.64 | 11.65 | -0.4 | -1.7 | 0.22 | 7.72 | 0.1 | 0.13
37.67 | -1.59 | 0.23 | 1.89 | 8.77 | -4.4 | -2.58 | -4.83 | 2.03 | 15.14 | -0.38 | -2.49 | 2.69 | 7.8 | -0.06 | -3.75
38 | -1.66 | 0.04 | -0.96 | 11.44 | -4.68 | -5.12 | -4.77 | 0.27 | 12.6 | 1.63 | -0.88 | 2.06 | 7.97 | 0.28 | 1.06
38.33 | 0.1 | -0.44 | -0.66 | 9.28 | -3.71 | -1.31 | -0.45 | 1.43 | 10.96 | 1.69 | 0.53 | -7.05 | 6.93 | -2.33 | 0.15
38.67 | -0.85 | 1.14 | -0.78 | 10.32 | -2.06 | -3.42 | -1.5 | 0.41 | 13.62 | -1.53 | -1.32 | -3.23 | 6.46 | -1.06 | 1.43
39 | -0.84 | -1.16 | -2.7 | 11.59 | -1.68 | -9.2 | -3.63 | 1.77 | 13.55 | 0.36 | -0.39 | 5.11 | 7.19 | -0.8 | 2.88
39.33 | -0.13 | -2.91 | 0.06 | 10.22 | -2.56 | -8.89 | 10.39 | 2.84 | 13.2 | 2.18 | -1.52 | 3.43 | 6.79 | -2.34 | -1.18
39.67 | -0.2 | 1.24 | 2.05 | 9.98 | -3.32 | -1.3 | -1.73 | 0.87 | 13.16 | -2.09 | -3.69 | -1.17 | 6.88 | -2.94 | -3.33
40 | -0.35 | 1.48 | -5.6 | 8.81 | -3.73 | 4.16 | -8.59 | 2.41 | 13.32 | -1.82 | -1.71 | -3.08 | 7.2 | -1.28 | -1.47
40.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.67 | 0 | 0 | 0 | 0 | 0
40.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0