## Sheet1
CAT instrument run at San Francisco General Hospital Department of Surgical Research
2011-10-06
Objective: run control data comparing different CAT reagents with coag normal plasma
and coag abnormal plasmas on CAT serial number 374-2874
looking at PPP 1pM TF reagent vs PPP 5pM and PPP 20pM TF also clinical samples with and without TM
original data file name: 00_111006A_01.dat
final volume (ul) |  |  |  | 90
trigger or calibrator reagent to add to each well (ul) |  |  |  | 15
FluCa to add to each well (ul) |  |  |  | 15
Trigger reagent used (e.g. PPP Low, PPP 5pM, PPP High) |  |  |  | see below
Volume Fluo-Buffer to add (ul) |  |  |  | 2600
Volume Fluo-Substrate to add (ul) |  |  |  | 65
INSTRUCTIONS: | replace example plate map from below with actual plate map used during demo/training run | [11 empty] | replace reagents used below with actual trigger reagents used during demo/training run
| Trigger | Trigger | Trigger | Calibrator | Calibrator | Calibrator | Trigger | Trigger | Trigger | Calibrator | Calibrator | Calibrator | Left Trigger | Right Trigger
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | norm | norm | norm | norm | norm | norm | 541a | 541a | 541a | 541a | 541a |  | PPP low (1pM TF) | PPP (5pM TF)
B | norm | norm | norm |  |  |  | 541a | 541a | 541a |  |  |  | PPP (5pM TF) | PPP (5pM TF + TM)
C | norm | norm | norm |  |  |  | 605a | 605a | 605a | 605a | 605a |  |  | PPP (5pM TF)
D | abn | abn | abn | abn | abn | abn | 605a | 605a | 605a |  |  |  | PPP low (1pM TF) | PPP (5pM TF + TM)
E | abn | abn | abn |  |  |  | 1220a | 1220a | 1220a | 1220a | 1220a |  | PPP (5pM TF) | PPP (5pM TF)
F | abn | abn | abn |  |  |  | 1220a | 1220a | 1220a |  |  |  |  | PPP (5pM TF + TM)
G | 436a | 436a | 436a | 436a | 436a | [7 empty] | PPP (5pM TF)
H | 436a | 436a | 436a | [9 empty] | PPP (5pM TF + TM)
CONCLUSION:
observed general increase in ETP, VI, peak height with between comparable plasmas as a function of [TF], decreases were seen by addition of TM
INSTRUCTIONS: | replace yellow cells below with rows 3-15 and columsn B-end from .ana file
in order to summarize data and calculate the velocity index (use copy/paste special/values)
test plate:
Groupname | 14498 1PM 1 | 14498 5PM 2 | 14498 20 PM 3 | 14502 1PM 4 | 14499 1PM 5 | 14499 5PM 6 | 14499 20 PM 7 | 14502 5PM 8 | 14500 1PM 9 | 14500 5PM 10 | 14500 20PM 11 | 14502 20PM 12 | 14501 1PM 13 | 14501 5PM 14 | 14501 20PM 15
Lagtime | 7.32 | 4.31 | 2.09 | 5.65 | 6.87 | 3.64 | 1.98 | 2.98 | 6.54 | 3.64 | 1.98 | 1.64 | 6.65 | 3.87 | 1.98
LagtimeSD | 0.27 | 0 | 0.16 | 0 | 0.16 | 0 | 0 | 0 | 0.16 | 0 | 0 | 0 | 0.27 | 0.16 | 0
ETP | 550.67 | 1002 | 1485 | 306 | 360 | 692.33 | 988.33 | 841.33 | 633 | 986.33 | 1451.67 | 1158 | 782.67 | 1322.33 | 1593.67
ETPSD | 96.41 | 8 | 22.38 | 0 | 45.61 | 2.49 | 20.85 | 31.37 | 52.24 | 66.26 | 45.33 | 26.55 | 56.61 | 41.52 | 12.5
Peak | 48.94 | 104.51 | 314.97 | 25.44 | 30.28 | 72.13 | 189.08 | 91.37 | 58.12 | 93.38 | 270.18 | 268.95 | 63.2 | 128.85 | 270.33
PeakSD | 9.6 | 1.34 | 4.87 | 0 | 1.81 | 0.71 | 9.3 | 4.65 | 6.1 | 7.61 | 7.28 | 3.24 | 6.77 | 8.36 | 7.38
ttPeak | 12.55 | 8.65 | 4.31 | 11.32 | 12.77 | 8.65 | 4.65 | 7.32 | 12.21 | 9.21 | 4.65 | 3.98 | 12.77 | 9.1 | 4.98
ttPeakSD | 0.42 | 0 | 0 | 0 | 0.16 | 0 | 0.27 | 0 | 0.16 | 0.16 | 0 | 0 | 0.31 | 0.83 | 0
StartTail | 36 | 34 | 20.67 | 32 | 31.67 | 31.67 | 20.33 | 31 | 36 | 33.67 | 20 | 17 | 36 | 32 | 22
StartTailSD | 0 | 0 | 0.47 | 0 | 3.09 | 0.47 | 0.47 | 0.82 | 0 | 0.94 | 0 | 0 | 0 | 1.41 | 0.82
Edited | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Active Wells | TG :A01:A02:A03 Calib :B01:B02:B03 | TG :C02:C03 Calib :D01:D02:D03 | TG :E01:E02:E03 Calib :F01:F02:F03 | TG :G03 Calib :H01:H02:H03 | TG :A04:A05:A06 Calib :B04:B05:B06 | TG :C04:C05:C06 Calib :D04:D05:D06 | TG :E04:E05:E06 Calib :F04:F05:F06 | TG :G04:G05:G06 Calib :H04:H05:H06 | TG :A07:A08:A09 Calib :B07:B08:B09 | TG :C07:C08:C09 Calib :D07:D08:D09 | TG :E07:E08:E09 Calib :F07:F08:F09 | TG :G07:G08:G09 Calib :H07:H08:H09 | TG :A10:A11:A12 Calib :B10:B11:B12 | TG :C10:C11:C12 Calib :D10:D11:D12 | TG :E10:E11:E12 Calib :F10:F11:F12 | TG :F04:F05:F06 Calib :F10:F11:F12 | TG :F07:F08:F09 Calib :F10:F11:F12 | TG :G04:G05:G06 Calib :G10:G11:G12 | TG :G07:G08:G09 Calib :G10:G11:G12 | TG :H04:H05:H06 Calib :H10:H11:H12 | TG :H07:H08:H09 Calib :H10:H11:H12
Velocity Index (nM/min) | 9.3576 | 24.0806 | 141.8784 | 4.4868 | 5.1322 | 14.3972 | 70.8165 | 21.053 | 10.2504 | 16.7648 | 101.191 | 114.9359 | 10.3268 | 24.6367
% ETP inhib by TM | [7 empty] | 85.13% |  | 155.8% |  | 79.77%
INSTRUCTIONS: | replace yellow cells below with rows 17-end and columns B-end from .ana file
in order to graph CAT data (use copy/paste special/values)
time | 14498 1PM 1 | 14498 5PM 2 | 14498 20 PM 3 | 14502 1PM 4 | 14499 1PM 5 | 14499 5PM 6 | 14499 20 PM 7 | 14502 5PM 8 | 14500 1PM 9 | 14500 5PM 10 | 14500 20PM 11 | 14502 20PM 12 | 14501 1PM 13 | 14501 5PM 14 | 14501 20PM 15
0.97 | 0 | -0.68 | 0.29 | 0.21 | -0.29 | -0.06 | 0.33 | 0.13 | 0.42 | 0.21 | 0.95 | 1.17 | 0 | 0.2 | 0.67
1.31 | -0.19 | -0.51 | 1.03 | 0.64 | -0.38 | 0.13 | 1.58 | 0.53 | 0.28 | 0.41 | 3.95 | 4.87 | -0.07 | 0.34 | 2.39
1.64 | 0.06 | 0.34 | 5.9 | 0.42 | -0.06 | 0.51 | 6.78 | 1.26 | 0.35 | 0.82 | 12.61 | 17.94 | 0.42 | 0.81 | 8.51
1.98 | 0.51 | 0.17 | 23.76 | 0.62 | 0.51 | 0.77 | 19.23 | 2.19 | 0.49 | 1.3 | 33.44 | 49.93 | 0.99 | 1.21 | 23.74
2.31 | 0.45 | -1.78 | 64.42 | 0.83 | 0.7 | 1.6 | 40.15 | 3.64 | 0.56 | 2.39 | 68.62 | 100.03 | 0.84 | 1.61 | 50.19
2.64 | 0.38 | -1.26 | 127.51 | 0.82 | 0.57 | 3.13 | 68.51 | 6.36 | 0.84 | 3.95 | 112.59 | 157.55 | 0.41 | 3.03 | 86.3
2.98 | 0.5 | 1.03 | 198.63 | 1.24 | 0.43 | 4.72 | 100.7 | 10.27 | 1.04 | 5.52 | 158.23 | 210.57 | 0.34 | 4.98 | 127.81
3.31 | 0.37 | 2.13 | 261.83 | 1.01 | 0.24 | 7.07 | 131.48 | 16.51 | 1.32 | 8.17 | 200.92 | 250.32 | 0.69 | 7.8 | 168.87
3.64 | 0.24 | 5.09 | 304.23 | 1 | 0.37 | 10.64 | 156.71 | 25.01 | 1.25 | 11.99 | 234.98 | 269.81 | 0.62 | 12.58 | 206.36
3.98 | 0.24 | 9.65 | 316.54 | 1.41 | 0.81 | 15.55 | 175.38 | 34.54 | 1.38 | 17.45 | 259.27 | 268.52 | 0.9 | 19.18 | 236.75
4.31 | 0.5 | 16.5 | 307.86 | 1.82 | 0.86 | 22 | 185.61 | 44.77 | 1.66 | 24.63 | 269.3 | 252.73 | 1.39 | 28.21 | 259.8
4.65 | 1.07 | 25.3 | 291.21 | 2.23 | 1.05 | 28.7 | 187.2 | 54.99 | 1.86 | 32.03 | 268.21 | 233.59 | 1.67 | 38.87 | 265.92
4.98 | 1.19 | 35.41 | 269.88 | 2.63 | 1.42 | 35.16 | 181.49 | 64.08 | 2.49 | 40.07 | 263.16 | 212.34 | 2.16 | 50.76 | 268.16
5.31 | 1.19 | 46.86 | 243.82 | 3.02 | 1.28 | 41.76 | 170.96 | 71.49 | 3.04 | 48.56 | 251.51 | 188.49 | 3.07 | 63.5 | 267.78
5.65 | 1.95 | 58.14 | 218.57 | 3.63 | 1.65 | 48.26 | 154.85 | 78.25 | 3.73 | 56.47 | 231.81 | 164.4 | 4.04 | 75.48 | 255.75
5.98 | 2.64 | 68.52 | 196.41 | 4.87 | 2.4 | 53.81 | 139.88 | 83.37 | 4.84 | 63.11 | 208.68 | 143.36 | 5.09 | 86.62 | 239.86
6.32 | 3.07 | 77.47 | 176.25 | 6.09 | 2.76 | 58.67 | 129.51 | 86.85 | 6.45 | 69.68 | 188.09 | 124.17 | 7.19 | 97.16 | 220.4
6.65 | 4.15 | 85.08 | 156.7 | 7.09 | 3.63 | 63.11 | 116.61 | 90.11 | 8.6 | 75.47 | 169.29 | 108.46 | 9.85 | 105.65 | 202.39
6.98 | 5.6 | 91.86 | 139.1 | 8.93 | 4.68 | 66.47 | 104.3 | 90.88 | 11.53 | 79.91 | 152.64 | 98.27 | 13.28 | 112.69 | 184.31
7.32 | 7.17 | 96.83 | 125.99 | 11.19 | 5.79 | 68.33 | 95.08 | 91.04 | 14.81 | 84.84 | 135.51 | 84.38 | 17.4 | 120.37 | 165.2
7.65 | 9.38 | 99.94 | 112.9 | 13.21 | 7.59 | 70.36 | 85.77 | 91.06 | 18.85 | 87.18 | 118.66 | 70.62 | 21.66 | 124.12 | 148.95
7.98 | 12.23 | 102.49 | 99.17 | 15 | 9.69 | 71.53 | 75.02 | 89.85 | 23.1 | 88.63 | 105.41 | 62.66 | 26.48 | 126.25 | 135.8
8.32 | 15.38 | 104.48 | 87.5 | 16.77 | 11.91 | 71.98 | 65.55 | 88.27 | 27.63 | 91.71 | 94.98 | 52.7 | 31.79 | 129.18 | 121.16
8.65 | 19.43 | 104.85 | 84.21 | 18.75 | 13.99 | 71.57 | 57.97 | 85.69 | 32.65 | 92.56 | 85.21 | 47.9 | 36.45 | 127.3 | 110.86
8.99 | 23.73 | 103.18 | 73.55 | 20.28 | 16.12 | 71.5 | 52.13 | 82.62 | 37.18 | 92.63 | 74.66 | 44.38 | 40.9 | 126.8 | 103.1
9.32 | 27.82 | 100.82 | 57.23 | 21.16 | 18.5 | 70.88 | 47.05 | 78.66 | 41.64 | 92.93 | 65.48 | 36.77 | 46.13 | 126.08 | 87.02
9.65 | 32.18 | 98.31 | 58.67 | 22.9 | 20.81 | 69.04 | 44.07 | 75.7 | 45.9 | 92.97 | 58.68 | 30.14 | 50.08 | 126.48 | 82.6
9.99 | 35.75 | 92.6 | 49.53 | 24.41 | 22.85 | 67.39 | 40.6 | 69.84 | 49.37 | 91.22 | 54.52 | 26.74 | 53.03 | 129.04 | 79.46
10.32 | 39.33 | 89.2 | 36.37 | 24.61 | 24.5 | 64.9 | 34.15 | 66.38 | 51.79 | 88.44 | 50.84 | 24.83 | 55.99 | 126.17 | 73.01
10.66 | 42.26 | 90.26 | 37.88 | 24.82 | 26.02 | 62.95 | 28.57 | 65.14 | 53.86 | 86.3 | 44.92 | 21.51 | 57.73 | 122.31 | 68.07
10.99 | 44.09 | 88.47 | 35.2 | 25.46 | 27.28 | 60.09 | 25.14 | 61.55 | 55.71 | 83.2 | 36.65 | 18.06 | 59.4 | 118.41 | 50.24
11.32 | 46.18 | 84.34 | 33.55 | 25.67 | 28.34 | 57.55 | 24.54 | 59.07 | 57.36 | 80.67 | 31.87 | 14.04 | 60.72 | 114.26 | 35.62
11.66 | 47.04 | 79.69 | 31.15 | 25.87 | 29.14 | 53.23 | 22.74 | 55.04 | 57.5 | 78.33 | 30.76 | 14.19 | 62.33 | 110.05 | 36.08
11.99 | 48.23 | 75.96 | 26.83 | 24.98 | 29.69 | 45.47 | 18.8 | 52.58 | 57.71 | 75.91 | 26.57 | 13.44 | 63.15 | 106.58 | 38.91
12.32 | 49.15 | 70.97 | 24.11 | 23.89 | 29.91 | 42.82 | 17.55 | 48.94 | 58.66 | 72.13 | 22.99 | 7.96 | 63.54 | 101.18 | 34.17
12.66 | 48.63 | 68.84 | 18.62 | 24.77 | 30.01 | 44.52 | 15.09 | 45.67 | 57.78 | 69.25 | 20.64 | 6.62 | 62.69 | 95.7 | 30.94
12.99 | 48.3 | 66.08 | 19.07 | 24.33 | 29.97 | 42.74 | 12.54 | 42.66 | 56.83 | 65.55 | 18.79 | 6.72 | 62.36 | 91.43 | 28.42
13.33 | 47.97 | 60.75 | 17.37 | 23.02 | 30.27 | 40.11 | 13.34 | 38.91 | 55.95 | 62.37 | 19.63 | 6.3 | 62.76 | 84.98 | 25.12
13.66 | 47.44 | 56.46 | 14.66 | 23.25 | 30.04 | 37.31 | 12.78 | 40.86 | 54.93 | 60.86 | 17.14 | 8.07 | 61.91 | 80.46 | 21.54
13.99 | 46.38 | 54.62 | 15.72 | 23.49 | 29.42 | 34.86 | 10.7 | 35.71 | 53.45 | 56 | 14.36 | 5.88 | 60.99 | 75.65 | 19.92
14.33 | 44.78 | 51.93 | 11.35 | 22.62 | 29 | 33.45 | 8.61 | 31.58 | 52.27 | 52.32 | 11.95 | 2.88 | 59.33 | 71.77 | 20.59
14.66 | 44.65 | 48.68 | 11.72 | 21.09 | 28.13 | 29.91 | 8.2 | 29.75 | 50.94 | 50.67 | 9.7 | -2.58 | 58.38 | 67.64 | 20.56
15 | 43.1 | 44.8 | 9.69 | 20.02 | 27.32 | 28.7 | 7.08 | 26.53 | 48.35 | 46.63 | 13.06 | 1.39 | 55.82 | 60.97 | 16.92
15.33 | 41.57 | 41.11 | 6.09 | 18.95 | 27.18 | 26.55 | 7.57 | 27.28 | 46.14 | 42.51 | 12.33 | 9.16 | 53.76 | 56.47 | 13.23
15.66 | 40.22 | 40.14 | 6.81 | 19.23 | 26.57 | 23.4 | 5.7 | 23.34 | 43.94 | 39.24 | 6.43 | 4.81 | 53.19 | 53.71 | 10.88
16 | 38.46 | 34.99 | 6.8 | 18.61 | 25.38 | 21.81 | 5.7 | 24.97 | 42.62 | 37.26 | 3.63 | -0.86 | 51.8 | 48.88 | 9.31
16.33 | 37.6 | 32.51 | 7.78 | 17.78 | 24.84 | 21.08 | 6.92 | 21.99 | 41.21 | 36.5 | 9.12 | -1.88 | 50.04 | 42.73 | 10.48
16.66 | 35.29 | 32.5 | 4.6 | 16.95 | 23.92 | 20.35 | 4.48 | 16.23 | 37.44 | 32.92 | 9.27 | 0.51 | 46.19 | 41.76 | 13.25
17 | 33.79 | 29.73 | 6.02 | 15.9 | 22.73 | 17.73 | 2.87 | 16.38 | 33.87 | 28.72 | 12.85 | 2.1 | 44.32 | 35.84 | 9.76
17.33 | 32.29 | 25.8 | 4.71 | 16.66 | 22.14 | 14.38 | 2.62 | 14.75 | 34.31 | 28 | 13.85 | -3.7 | 46.78 | 31.6 | 6.78
17.67 | 29.77 | 24.59 | 2.22 | 15.39 | 21.29 | 13.14 | 3.6 | 15.2 | 31.83 | 26.93 | 3.63 | -0.55 | 44.58 | 32.14 | 8.32
18 | 26.48 | 23.73 | 2.09 | 14.58 | 19.65 | 13.35 | 2.63 | 14.08 | 29.09 | 22.17 | 12.94 | 0.74 | 40.31 | 29.55 | 6.96
18.33 | 26.65 | 20.76 | 0.59 | 12.64 | 18.81 | 12.1 | 1.08 | 11.39 | 28.9 | 21.28 | 5.63 | -1.23 | 38.92 | 27.85 | 6.1
18.67 | 27.46 | 18.69 | 2.96 | 12.08 | 18.71 | 11.5 | 1.73 | 10.53 | 26.37 | 22.22 | -4.28 | 1.76 | 39.19 | 24.63 | 2.53
19 | 25.31 | 17.09 | 3.03 | 12.88 | 18.27 | 11.2 | 4.37 | 10.63 | 24.07 | 18.52 | 3.27 | 0.23 | 36.22 | 22.94 | 5.12
19.33 | 24.75 | 18.19 | 2.87 | 11.86 | 17.11 | 10.45 | 3.31 | 10.8 | 23.35 | 16.33 | 0.86 | -2.36 | 32.79 | 19.24 | 8.44
19.67 | 23.48 | 16.21 | 0.34 | 11.98 | 15.41 | 8.98 | 2.06 | 8.78 | 22.72 | 16.05 | 1.15 | -2.32 | 32.91 | 17.85 | 3.01
20 | 21.04 | 12.45 | -0.87 | 11.2 | 14.85 | 9.12 | 2.15 | 6.96 | 20.62 | 14.63 | -4.18 | -4.51 | 30.29 | 17.28 | 3.07
20.34 | 20.35 | 13.43 | -0.56 | 9.73 | 14.5 | 6.68 | 0.69 | 7.32 | 17.54 | 14.14 | -5.78 | 0.74 | 27.91 | 13.8 | 1.55
20.67 | 19.49 | 15.49 | 0.73 | 9.19 | 13.28 | 5.42 | 0.78 | 6.97 | 16.83 | 11.91 | 1.61 | 7.6 | 28.66 | 13.27 | 2.9
21 | 18.31 | 12.63 | 0.6 | 8.42 | 12 | 6.01 | 2.41 | 4.68 | 16.33 | 10.02 | 2.64 | -1.75 | 26.78 | 15.14 | 6.36
21.34 | 16.93 | 8.34 | 2.17 | 7.66 | 12.2 | 5.86 | 1.19 | 5.21 | 15.09 | 10.45 | 0.93 | -4.99 | 22.69 | 12.25 | 0.99
21.67 | 15.31 | 9.81 | 2.35 | 7.83 | 11.39 | 5.04 | 0.7 | 6.56 | 14.06 | 10.12 | 3.8 | -2.06 | 22 | 9.45 | -0.46
22.01 | 14.28 | 10.79 | -1.03 | 9.37 | 9.51 | 4.22 | 1.53 | 4.44 | 13.03 | 8.64 | 4.94 | -1.17 | 21.65 | 9.66 | 2.91
22.34 | 13.66 | 7.17 | -1.52 | 6.76 | 9.46 | 5.48 | 0.39 | 3.21 | 12.86 | 8.82 | 0.25 | -1.12 | 19.38 | 9.23 | 1.18
22.67 | 11.48 | 6.23 | -0.69 | 5.09 | 9.75 | 4.66 | 1.55 | 1.87 | 11.22 | 7.97 | 6.8 | -0.45 | 18.05 | 8.53 | -3.61
23.01 | 9.77 | 6.85 | 0.9 | 5.97 | 8.88 | 1.61 | 2.72 | 3.68 | 9.81 | 6.06 | 11.53 | -0.62 | 16.48 | 6.4 | 0.72
23.34 | 10.25 | 6.88 | -2.07 | 5.69 | 7.28 | 2.43 | -0.28 | 3.88 | 9.56 | 7.54 | 2.11 | -0.15 | 15.7 | 15.47 | 4.4
23.67 | 9.11 | 7.14 | -4.7 | 5.65 | 7.04 | 2.87 | 0.48 | 2.28 | 8.76 | 6.56 | 0.58 | -1.39 | 14.97 | 16.15 | 4.55
24.01 | 7.19 | 3.72 | -1.03 | 5.37 | 6.66 | 1.98 | 0.91 | 3.28 | 7.75 | 6.41 | 4.52 | -3.31 | 13.17 | 6.73 | 1.2
24.34 | 9.12 | 3.74 | 0.57 | 4.4 | 5.81 | 2.5 | 0.32 | 1.4 | 7.44 | 4.76 | 2.25 | 0.62 | 12.45 | 5.15 | -0.24
24.68 | 8.93 | 4.86 | -1.71 | 2.28 | 5.45 | 1.31 | 0.25 | 1.61 | 6.8 | 2.32 | -6.06 | 0.07 | 11.33 | 5.68 | 2.33
25.01 | 7.93 | 4.02 | -2.12 | 3.43 | 5.42 | 1.84 | -1.16 | 3.16 | 6.54 | 4.79 | -6.4 | -2.83 | 11.49 | -3.78 | 4.89
25.34 | 7.41 | 5.03 | 0.22 | 3.86 | 4.71 | 1.99 | 0.2 | 4.65 | 6.31 | 4.43 | -1.23 | -0.77 | 10.06 | 3.56 | 4.7
25.68 | 7.02 | 4.55 | -1.37 | 4.07 | 4.21 | 0.87 | 1.45 | -0.09 | 5.3 | 5.88 | 0.79 | -0.61 | 9.41 | 14.24 | -4.43
26.01 | 7.52 | 1.59 | -3.06 | 2.64 | 3.72 | 1.02 | -0.16 | -2.27 | 4.73 | 5.16 | -0.51 | 0.54 | 10.11 | 3.9 | -2.26
26.35 | 6.44 | 0.61 | 0.36 | 0.53 | 3.22 | 0.35 | -0.97 | -0.14 | 4.81 | 0.29 | 0.48 | -0.76 | 8.07 | 2.21 | 0.75
26.68 | 5.76 | 3 | -2 | 3.33 | 3.35 | 0.13 | 1.05 | -0.29 | 4.63 | 0.77 | 3.64 | -4.08 | 6.78 | 11.52 | -0.28
27.01 | 4.46 | 4.02 | -1.4 | 3.07 | 2.86 | 2.69 | 2.47 | 2.68 | 3.14 | 2.17 | 0.51 | -8.26 | 7.73 | 2.04 | 2.3
27.35 | 5.39 | 2.41 | -0.24 | -0.22 | 2.51 | 0.89 | 0.31 | 0.95 | 2.51 | 1.82 | 1.34 | -1.15 | 7.24 | -6.64 | 2.88
27.68 | 5.52 | -0.08 | 0.28 | 0.49 | 2.29 | -0.76 | -0.26 | -0.96 | 2.81 | 2.11 | 0.33 | 3.83 | 4.92 | -2.72 | -4.23
28.01 | 4.73 | 2.09 | 1.35 | 2.83 | 1.88 | 1.35 | 1.08 | 1.64 | 3.31 | 3.18 | -0.88 | -4.03 | 5.67 | -6.48 | -1.71
28.35 | 3.92 | 4.11 | -3.39 | 1.64 | 1.46 | 0.75 | -0.34 | 1.57 | 4.01 | 2.13 | 0.33 | 0.15 | 5.82 | -1.79 | 5.25
28.68 | 2.76 | 1.22 | -2.3 | -0.71 | 1.53 | -0.38 | 0.5 | -0.73 | 2.67 | 0.63 | 3.18 | -0.27 | 4.59 | 1.08 | 0.6
29.02 | 3.46 | 2.01 | -2.43 | 1.18 | 1.32 | 0.76 | 0.93 | -0.24 | 1.87 | 0.74 | 3.76 | -1.16 | 3.8 | 0.9 | -2.61
29.35 | 3.59 | 1.01 | 2.5 | 1.18 | 1.25 | 0.54 | 1.11 | 0.53 | 2.03 | 1.42 | -0.38 | 0.26 | 4.79 | 1.69 | 0.8
29.68 | 2.54 | 0.02 | 1.32 | 0.47 | 0.56 | -2.02 | 0.86 | 1.02 | 2.42 | 3.66 | 1.44 | -1.68 | 3.82 | 1.82 | 4.82
30.02 | 1.87 | 0.67 | -5.56 | 1.18 | 0.29 | -1.71 | -0.24 | -0.56 | 1.86 | 2.55 | 1.8 | -1.99 | 2.45 | 1.37 | 2.22
30.35 | 2.46 | 1.46 | -0.16 | -0.94 | -0.11 | 1.4 | -0.32 | -0.15 | -0.08 | 0.41 | 0.77 | -0.95 | 2.7 | 4.03 | -1.8
30.69 | 2.67 | 2.62 | -0.2 | 0.02 | -0.52 | 2.08 | 1.48 | 2.13 | 1.18 | -0.33 | 0.86 | 0.51 | 3.18 | 1.98 | -0.45
31.02 | 1.64 | 0.73 | -4.87 | 0.26 | 0.11 | 0.11 | 0.46 | 1.01 | 2.97 | 0.49 | 0.64 | 0.69 | 3.73 | -0.8 | 0.82
31.35 | 2.38 | 0.24 | -1.11 | -1.38 | -0.2 | -1.17 | 0.47 | -1.97 | 1.85 | 2.13 | 1.72 | 10 | 3.73 | 0.2 | -3.01
31.69 | 2.46 | 1.41 | 1.2 | -0.18 | -2.06 | -0.33 | 1.68 | -0.15 | 0.78 | 0.8 | 3.23 | 8.79 | 1.82 | 0.2 | 1.51
32.02 | 0.42 | 0.66 | -2.38 | 0.54 | -2.09 | 0.21 | -1.31 | 2.13 | 0.62 | 1.32 | 1.79 | -2.71 | 1.83 | 3.77 | 0.18
32.35 | 0.7 | -0.86 | -3.25 | -0.17 | -1.18 | 1.13 | 0.15 | -1.05 | 2.04 | 0.87 | 1.99 | 0.04 | 3.82 | 0.95 | -2.08
32.69 | 2.34 | -0.32 | -0.47 | -0.87 | -0.88 | 1.58 | 1.87 | -0.26 | 1.64 | -0.62 | 4.43 | -7.59 | 1.17 | 0.98 | 3.97
33.02 | 2.35 | -0.69 | -4.85 | -0.14 | -0.39 | -0.62 | 0.41 | 0.6 | -0.02 | 1.55 | 3.49 | -4.87 | 0.92 | 0.01 | 2.74
33.36 | 0.12 | 0.11 | -5.7 | -1.56 | -2.1 | -1.45 | 3.24 | 0.9 | 0.86 | 1.93 | -1.73 | -7.36 | 3.37 | -1.65 | 1.07
33.69 | 0.28 | 0.38 | -0.27 | -2.95 | -3.08 | -2.2 | 1.28 | -0.03 | 1.57 | -0.69 | 0.03 | 1.67 | 3.37 | 3.05 | 1.8
34.02 | 0.89 | 0.15 | 0.19 | -0.54 | -2.73 | -0.13 | -3.66 | -2.19 | 0.23 | -0.31 | 2.38 | 12.46 | 1.4 | 0.9 | 1.97
34.36 | 0.14 | -0.09 | 1.52 | -0.42 | -1.28 | 1.25 | -1.36 | 0.23 | -0.55 | -0.5 | 1.11 | -2.42 | 0.21 | 0.8 | 0.16
34.69 | 1.27 | -1.11 | -1.2 | -3.79 | -1.37 | -0.81 | 1.13 | -0.22 | -0.24 | 0.34 | -0.95 | -1.12 | 2.24 | 0.04 | -2.3
35.03 | 2.33 | 2.56 | -1.18 | -3.88 | -2.98 | -0.57 | 1.67 | -1.35 | -0.24 | -0.63 | -1.03 | 2.42 | 1.29 | -2.43 | 0.24
35.36 | 0.82 | 1.93 | 0.63 | -1.43 | -2.82 | -0.95 | 2.54 | 0.87 | -0.14 | 0.53 | 2.56 | -3.02 | 0.39 | -1.31 | 1.85
35.69 | 0 | -1.32 | -1.04 | -0.22 | -1.78 | -0.56 | -0.39 | 2.83 | 1.05 | 0.62 | -0.78 | -14.27 | 1.14 | 0 | 0.6
36.03 | 0.55 | -0.77 | -1.91 | -0.69 | -1.17 | 0.52 | -1.25 | 2.17 | 1.2 | -0.71 | 1.18 | -8.81 | 1.17 | 1.25 | 2.13
36.36 | 0.45 | -0.62 | -0.65 | -3.04 | -0.95 | -0.62 | 2.31 | -0.7 | 0.09 | -0.4 | 5.3 | 0.88 | 1.29 | -0.13 | -0.89
36.69 | 0.12 | -0.47 | -1.49 | -2.05 | -1.63 | 0 | 1.63 | -0.67 | 1.29 | 0.13 | 4.45 | 1.06 | 0.7 | -2.61 | 0.46
37.03 | 0.26 | -0.45 | -3.4 | -0.6 | -2.36 | -0.53 | -0.11 | 0.22 | 0.74 | 2.13 | 1.12 | -2.53 | 1.73 | 2.16 | 5.95
37.36 | 0.26 | 0.1 | -0.08 | -1.3 | -1.44 | -1.68 | 1.36 | 1.9 | -1 | 1.42 | 1.15 | 3.31 | -0.24 | 2.65 | 1.67
37.7 | 0.03 | 0.66 | -0.12 | -1.04 | -1.08 | 1.48 | 1.55 | 1.9 | 0.91 | -0.03 | 3.3 | 12.05 | 0.24 | -0.86 | -3.31
38.03 | 0.61 | 2.13 | -2.74 | -0.07 | -1.14 | 1.64 | 0.79 | -1.28 | 0.84 | -1.23 | 4.39 | 9.35 | 1.44 | -1.94 | -0.81
38.36 | -1.56 | -1.57 | -2.91 | -1.49 | -1.53 | -1.21 | 0.61 | -1.07 | -0.44 | -0.48 | 1.69 | 2.41 | -0.1 | -0.18 | 6.03
38.7 | -0.86 | -3.93 | -3.66 | -3.85 | -1.86 | -0.04 | 0.01 | 0.72 | 0.68 | 1.21 | -1.14 | -4.4 | -0.28 | 1.15 | 2.84
39.03 | 0.89 | 0.62 | -2.02 | -1.42 | -1.7 | 0.58 | 3.08 | 1.24 | 0.2 | 1.38 | 1.42 | -13.71 | 0.22 | -1.66 | -0.86
39.37 | 0.05 | 0.5 | 0.09 | -1.16 | -1.68 | -1.19 | 1.68 | -0.12 | 0.14 | 0.2 | 3.65 | -5.92 | 2.04 | -0.71 | 3.71
39.7 | -1.27 | -0.67 | -0.89 | -2.81 | -1.39 | -0.25 | -1.89 | 0.31 | 0.08 | 0.59 | 1.76 | 0.97 | 1.52 | -2.22 | 2.33
40.03 | -1.44 | -2.93 | -3.78 | -2.29 | -1.57 | -1.1 | 0.02 | 0.23 | -1.54 | -1.07 | 0.98 | -1.62 | 0.89 | 2.85 | -0.33
40.37 | 1.12 | 0 | 0 | 0 | 0.28 | 0 | 0 | 0 | -1.17 | 0 | 0 | 0 | 1.21 | 0.68 | 0
40.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0