## Sheet1
CAT instrument run at San Francisco General Hospital Department of Surgical Research
2011-10-06
Objective: run control data comparing different CAT reagents with coag normal plasma
and coag abnormal plasmas on CAT serial number 374-2874
looking at PPP 1pM TF reagent vs PPP 5pM and PPP 20pM TF also clinical samples with and without TM
original data file name: 00_111006A_01.dat
final volume (ul) |  |  |  | 90
trigger or calibrator reagent to add to each well (ul) |  |  |  | 15
FluCa to add to each well (ul) |  |  |  | 15
Trigger reagent used (e.g. PPP Low, PPP 5pM, PPP High) |  |  |  | see below
Volume Fluo-Buffer to add (ul) |  |  |  | 2600
Volume Fluo-Substrate to add (ul) |  |  |  | 65
INSTRUCTIONS: | replace example plate map from below with actual plate map used during demo/training run | [11 empty] | replace reagents used below with actual trigger reagents used during demo/training run
| Trigger | Trigger | Trigger | Calibrator | Calibrator | Calibrator | Trigger | Trigger | Trigger | Calibrator | Calibrator | Calibrator | Left Trigger | Right Trigger
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | norm | norm | norm | norm | norm | norm | 541a | 541a | 541a | 541a | 541a |  | PPP low (1pM TF) | PPP (5pM TF)
B | norm | norm | norm |  |  |  | 541a | 541a | 541a |  |  |  | PPP (5pM TF) | PPP (5pM TF + TM)
C | norm | norm | norm |  |  |  | 605a | 605a | 605a | 605a | 605a |  |  | PPP (5pM TF)
D | abn | abn | abn | abn | abn | abn | 605a | 605a | 605a |  |  |  | PPP low (1pM TF) | PPP (5pM TF + TM)
E | abn | abn | abn |  |  |  | 1220a | 1220a | 1220a | 1220a | 1220a |  | PPP (5pM TF) | PPP (5pM TF)
F | abn | abn | abn |  |  |  | 1220a | 1220a | 1220a |  |  |  |  | PPP (5pM TF + TM)
G | 436a | 436a | 436a | 436a | 436a | [7 empty] | PPP (5pM TF)
H | 436a | 436a | 436a | [9 empty] | PPP (5pM TF + TM)
CONCLUSION:
observed general increase in ETP, VI, peak height with between comparable plasmas as a function of [TF], decreases were seen by addition of TM
INSTRUCTIONS: | replace yellow cells below with rows 3-15 and columsn B-end from .ana file
in order to summarize data and calculate the velocity index (use copy/paste special/values)
test plate:
Groupname | 14503 1PM 1 | 14503 5PM 2 | 14503 20 PM 3 | 14507 1PM 4 | 14504 1PM 5 | 14504 5PM 6 | 14504 20 PM 7 | 14507 5PM 8 | 14505 1PM 9 | 14505 5PM 10 | 14505 20PM 11 | 14507 20PM 12 | 14506 1PM 13 | 14506 5PM 14 | 14506 20PM 15
Lagtime | 5.74 | 3.24 | 1.57 | 6.74 | 6.08 | 3.57 | 1.68 | 3.9 | 8.41 | 4.02 | 1.9 | 1.9 | 5.41 | 3.24 | 1.57
LagtimeSD | 0.17 | 0 | 0 | 0.17 | 0.17 | 0 | 0.16 | 0.27 | 0.17 | 0.16 | 0 | 0 | 0.17 | 0 | 0
ETP | 440.5 | 1061.67 | 1657.67 | 318 | 498 | 1128.67 | 1452.67 | 792.33 | 301 | 950.33 | 1688 | 1526 | 317 | 1038.33 | 1405.33
ETPSD | 13.5 | 28.34 | 12.76 | 22 | 60 | 21.64 | 25.53 | 68.39 | 2 | 45.24 | 52.94 | 46.37 | 57 | 8.58 | 110.18
Peak | 34.51 | 114.68 | 359.94 | 28.57 | 37.63 | 131.1 | 320.77 | 79.78 | 28.04 | 93.06 | 369.06 | 315.06 | 26.55 | 124.51 | 327.4
PeakSD | 0.22 | 5.22 | 13.1 | 0.97 | 1.88 | 1.59 | 2.69 | 13.98 | 0.08 | 5 | 8.57 | 12.52 | 3.66 | 3.38 | 10.28
ttPeak | 11.92 | 7.58 | 3.68 | 12.26 | 11.75 | 7.8 | 3.79 | 8.58 | 14.59 | 9.14 | 4.02 | 4.35 | 11.42 | 7.02 | 3.57
ttPeakSD | 0.33 | 0 | 0.16 | 0 | 0.17 | 0.16 | 0.16 | 0.47 | 0 | 0.16 | 0.16 | 0.16 | 0.17 | 0.16 | 0
StartTail | 33 | 31 | 19 | 31.5 | 33.5 | 29 | 19 | 32.67 | 29.5 | 35 | 18.33 | 18 | 29.5 | 30 | 17.67
StartTailSD | 3 | 0.82 | 0 | 1.5 | 2.5 | 0 | 0 | 1.89 | 0.5 | 0 | 0.47 | 0 | 0.5 | 0 | 0.47
Edited | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Active Wells | TG :A01:A03 Calib :B01:B02:B03 | TG :C01:C02:C03 Calib :D01:D02:D03 | TG :E01:E02:E03 Calib :F01:F02:F03 | TG :G02:G03 Calib :H01:H02:H03 | TG :A04:A05 Calib :B04:B05:B06 | TG :C04:C05:C06 Calib :D04:D05:D06 | TG :E04:E05:E06 Calib :F04:F05:F06 | TG :G04:G05:G06 Calib :H04:H05:H06 | TG :A08:A09 Calib :B07:B08:B09 | TG :C07:C08:C09 Calib :D07:D08:D09 | TG :E07:E08:E09 Calib :F07:F08:F09 | TG :G07:G08:G09 Calib :H07:H08:H09 | TG :A10:A12 Calib :B10:B11:B12 | TG :C10:C11:C12 Calib :D10:D11:D12 | TG :E10:E11:E12 Calib :F10:F11:F12 | TG :F04:F05:F06 Calib :F10:F11:F12 | TG :F07:F08:F09 Calib :F10:F11:F12 | TG :G04:G05:G06 Calib :G10:G11:G12 | TG :G07:G08:G09 Calib :G10:G11:G12 | TG :H04:H05:H06 Calib :H10:H11:H12 | TG :H07:H08:H09 Calib :H10:H11:H12
Velocity Index (nM/min) | 5.5841 | 26.424 | 170.5877 | 5.1757 | 6.6367 | 30.9929 | 152.0237 | 17.047 | 4.5372 | 18.1758 | 174.0849 | 128.5959 | 4.4176 | 32.9392
% ETP inhib by TM | [7 empty] | 54.54% |  | 315.7% |  | 90.4%
INSTRUCTIONS: | replace yellow cells below with rows 17-end and columns B-end from .ana file
in order to graph CAT data (use copy/paste special/values)
time | 14503 1PM 1 | 14503 5PM 2 | 14503 20 PM 3 | 14507 1PM 4 | 14504 1PM 5 | 14504 5PM 6 | 14504 20 PM 7 | 14507 5PM 8 | 14505 1PM 9 | 14505 5PM 10 | 14505 20PM 11 | 14507 20PM 12 | 14506 1PM 13 | 14506 5PM 14 | 14506 20PM 15
0.9 | 0.44 | 0.25 | 0.85 | 0.51 | 0 | 0.06 | 1.32 | 0.53 | 0.28 | 0.24 | 0.68 | 0.53 | 0.38 | 0.19 | 0.61
1.23 | 0.22 | 0.61 | 6.95 | 0.34 | 0 | 0.24 | 6.99 | 0.47 | 0.74 | 0.66 | 3.15 | 2.16 | 0.19 | 0.5 | 4.56
1.57 | 0.44 | 0.67 | 29.75 | 0.42 | 0.09 | 0.6 | 27.94 | 0.71 | 0.92 | 0.89 | 12.93 | 8.83 | 0.28 | 0.93 | 22.43
1.9 | 0.99 | 1.16 | 82.95 | 0.5 | 0.18 | 0.77 | 74.56 | 1.06 | 0.91 | 1.13 | 43.47 | 30.64 | 0.38 | 1.37 | 71.63
2.23 | 0.66 | 2.64 | 161.64 | 0.5 | 0.55 | 1.19 | 144.27 | 1.3 | 0.62 | 1.6 | 102.05 | 73.08 | 0.37 | 2.67 | 151.24
2.57 | 0.76 | 4.66 | 243.96 | 0.58 | 0.54 | 2.56 | 218.64 | 2.06 | 0.89 | 2.31 | 177.84 | 129.76 | 0.75 | 5.48 | 235.34
2.9 | 0.87 | 8.53 | 311.3 | 0.66 | 0.63 | 5.19 | 278.47 | 3.01 | 1.07 | 3.5 | 253.65 | 189.94 | 0.74 | 9.84 | 299.54
3.24 | 0.75 | 15.35 | 352.55 | 0.74 | 0.53 | 9.85 | 313.89 | 4.48 | 0.96 | 5.16 | 314.21 | 242.72 | 0.93 | 17.13 | 330.4
3.57 | 1.42 | 24.29 | 358.01 | 0.73 | 0.34 | 16.9 | 322.31 | 6.97 | 1.23 | 7.71 | 352.68 | 283.04 | 1.4 | 28.08 | 324.84
3.9 | 1.97 | 34.81 | 342.1 | 0.9 | 0.98 | 27.22 | 308.95 | 10.58 | 1.03 | 11.64 | 366.31 | 306.21 | 1.48 | 41.51 | 303.08
4.24 | 2.18 | 47.57 | 326.18 | 0.89 | 1.34 | 40.49 | 287.78 | 15.74 | 1.2 | 17.42 | 362.38 | 314.68 | 1.66 | 56.74 | 278.79
4.57 | 2.5 | 60.59 | 300.38 | 0.88 | 1.51 | 54.98 | 263.5 | 22.1 | 1.38 | 24.52 | 344.07 | 311.55 | 2.22 | 72.11 | 250.27
4.91 | 3.27 | 72.33 | 268.68 | 1.39 | 1.77 | 69.11 | 237.39 | 29.85 | 0.99 | 32.61 | 314.08 | 294.76 | 2.77 | 86.04 | 222.01
5.24 | 3.92 | 82.88 | 241.84 | 1.72 | 2.49 | 83.46 | 212.88 | 38.25 | 1.35 | 41.63 | 281.14 | 272 | 3.32 | 97.95 | 194.81
5.57 | 5.35 | 92.17 | 214.76 | 1.87 | 3.66 | 95.64 | 187.74 | 46.18 | 1.43 | 50.53 | 248.99 | 247.14 | 4.06 | 106.99 | 169.86
5.91 | 7 | 99.54 | 191.64 | 2.11 | 4.73 | 105.59 | 164.81 | 53.59 | 1.41 | 59.07 | 220.28 | 220.54 | 5.27 | 115.19 | 148.92
6.24 | 8.31 | 104.63 | 170.03 | 2.78 | 6.16 | 114.98 | 147.38 | 60.06 | 1.67 | 66.67 | 193.57 | 195.11 | 6.37 | 120.4 | 132.45
6.58 | 10.61 | 109.74 | 148.3 | 3.78 | 8.31 | 121.53 | 130.74 | 65.64 | 1.93 | 73.38 | 171.52 | 171.67 | 7.76 | 122.51 | 117.99
6.91 | 12.8 | 112.65 | 134.38 | 4.6 | 10.82 | 125.32 | 115.77 | 70.58 | 2.1 | 78.7 | 151.09 | 149.45 | 9.71 | 123.67 | 102.87
7.25 | 15.32 | 113.46 | 118.64 | 5.68 | 13.5 | 128.91 | 101.8 | 73.93 | 2.35 | 83.62 | 130.99 | 132.66 | 11.45 | 123.72 | 91.54
7.58 | 17.6 | 114.85 | 102.94 | 6.92 | 16.35 | 130.88 | 89.37 | 76.8 | 2.98 | 86.92 | 114.94 | 116.55 | 13.47 | 122.25 | 79.95
7.91 | 19.66 | 114.22 | 92.36 | 8.66 | 19.55 | 130.77 | 79.93 | 78.32 | 3.6 | 88.84 | 112.71 | 100.82 | 15.39 | 115.26 | 69.49
8.25 | 22.62 | 112.13 | 84.34 | 10.65 | 23.03 | 129.69 | 71.32 | 79 | 4.21 | 91.24 | 108 | 90.15 | 17.59 | 107.79 | 62.16
8.58 | 25.91 | 108.48 | 74.63 | 12.88 | 25.66 | 127.21 | 63.31 | 80.28 | 5.19 | 91.96 | 67.89 | 80.95 | 19.68 | 105.48 | 54.41
8.92 | 27.73 | 102.16 | 64.76 | 15.19 | 28.28 | 124.09 | 56.79 | 79.19 | 6.25 | 92.52 | 49.86 | 71.57 | 20.89 | 102.92 | 50.21
9.25 | 28.76 | 100.08 | 58.51 | 16.97 | 31.1 | 120.46 | 50.29 | 77.74 | 7.57 | 93.02 | 62.48 | 59.8 | 22.2 | 98.49 | 45.52
9.58 | 30.59 | 100 | 50.88 | 19.09 | 32.79 | 117.41 | 42.28 | 77.59 | 9.26 | 92.89 | 56.44 | 58.36 | 24.09 | 95.46 | 36.82
9.92 | 32.19 | 96.32 | 45.16 | 21.55 | 34.1 | 112.2 | 39 | 75.37 | 10.94 | 91.01 | 49.09 | 54.83 | 25.39 | 89.92 | 32.43
10.25 | 33.45 | 91.12 | 42.19 | 23.22 | 35.05 | 103.79 | 33.28 | 70.84 | 12.5 | 86.73 | 44.74 | 41.13 | 25.43 | 82.55 | 31.28
10.59 | 34.04 | 85.99 | 35.59 | 24.89 | 36.19 | 98.81 | 30.09 | 69.96 | 14.34 | 83.93 | 36.25 | 27.61 | 25.95 | 76.26 | 29.19
10.92 | 33.94 | 81.72 | 31 | 25.77 | 37.14 | 93.57 | 30.28 | 69.21 | 16.91 | 82.79 | 32.57 | 23.8 | 26.18 | 70.89 | 25.2
11.25 | 33.72 | 78.23 | 31.56 | 27.01 | 37.24 | 86.81 | 26.65 | 64.9 | 18.61 | 80.55 | 32.33 | 28.6 | 26.22 | 67.69 | 21.87
11.59 | 34.54 | 73.42 | 37.31 | 27.97 | 37.64 | 81.12 | 20.69 | 62.91 | 20.12 | 77.96 | 27.04 | 27.29 | 26.95 | 62.33 | 19.73
11.92 | 35.02 | 68.75 | 32.69 | 28.24 | 37.75 | 75.26 | 19.42 | 60.67 | 22.27 | 75.66 | 24.04 | 20.94 | 26.59 | 55.66 | 16.41
12.26 | 34 | 64.11 | 9.43 | 28.69 | 37.47 | 72.17 | 18.88 | 56.21 | 23.75 | 72.62 | 20.73 | 23.27 | 25.35 | 53 | 17.16
12.59 | 33.68 | 59.47 | 7.75 | 28.35 | 37.11 | 65.99 | 14.66 | 54.5 | 25.04 | 67.82 | 16.99 | 28.79 | 25.6 | 50.42 | 15.55
12.92 | 34.05 | 55.13 | 14.93 | 28.36 | 36.26 | 60.64 | 12.62 | 50.62 | 25.94 | 64.74 | 16.6 | 20.04 | 25.74 | 46.17 | 12.84
13.26 | 33.14 | 51.59 | 15.66 | 28.37 | 36.2 | 56.16 | 13.19 | 45.48 | 26.65 | 62.03 | 16.1 | 12.6 | 24.8 | 43.29 | 11.37
13.59 | 31.89 | 48.55 | 26.72 | 27.5 | 36.53 | 52.33 | 11.7 | 45.08 | 27.08 | 58.28 | 13.14 | 4.39 | 23.86 | 38.84 | 9.44
13.93 | 31.68 | 43.59 | 18.55 | 26.72 | 35.98 | 49.27 | 8.61 | 43.86 | 27.59 | 55.56 | 13.51 | 3.69 | 23.52 | 33.87 | 10.19
14.26 | 31.36 | 41.9 | 7.16 | 26.39 | 34.34 | 41.58 | 9.6 | 40.01 | 28.3 | 52.58 | 11.37 | 9.34 | 22.98 | 33.33 | 8.86
14.59 | 29.98 | 38.95 | 10.93 | 25.71 | 33.81 | 36.85 | 6.83 | 36.46 | 27.67 | 48.03 | 6.09 | 10.92 | 22.05 | 32.77 | 7.72
14.93 | 29.31 | 34.34 | 12.5 | 24.93 | 33.36 | 36.2 | 5.21 | 35.04 | 27.91 | 44.01 | 9.9 | 7.72 | 21.92 | 29.16 | 15.27
15.26 | 27.82 | 32.25 | 6.78 | 23.99 | 32.53 | 34 | 5.16 | 33.18 | 27.86 | 41.81 | 10.49 | 6.76 | 20.49 | 25.91 | 17.65
15.6 | 27.03 | 30.67 | 7 | 22.68 | 31.79 | 29.18 | 5 | 29.07 | 26.46 | 39.35 | 6.72 | 7 | 19.37 | 24.83 | 1.07
15.93 | 28.13 | 28.17 | 8.09 | 22.55 | 30.75 | 26.9 | 8.67 | 28.06 | 26.43 | 37.23 | 3.79 | 3.77 | 19.25 | 21.85 | 5.28
16.26 | 26.28 | 25.43 | 3.66 | 21.52 | 30.72 | 26.09 | 12.45 | 27.22 | 25.62 | 34.14 | 4.71 | 5.36 | 19.34 | 20.34 | 14.45
16.6 | 24.66 | 23.78 | 3.43 | 19.77 | 29.89 | 22.62 | 24.6 | 24.02 | 24.92 | 31.4 | 7.04 | 5.58 | 18.92 | 19.98 | 4.2
16.93 | 23.88 | 21.65 | -3.12 | 19.65 | 29.06 | 17.06 | 5.32 | 21.96 | 24.51 | 29.39 | 4.98 | 4.49 | 17.09 | 18.11 | -6.99
17.27 | 22.62 | 19.77 | -1.02 | 18.63 | 28.94 | 18.87 | 0.55 | 20.63 | 23.33 | 25.89 | 1.74 | 2.48 | 14.95 | 15.98 | 2.6
17.6 | 23.38 | 17.41 | 1.67 | 17.7 | 27.39 | 21.29 | 13.54 | 18.9 | 22.74 | 25 | 1.72 | 5.6 | 15.38 | 15.02 | 14.73
17.93 | 21.64 | 17.22 | -1.59 | 17.23 | 26.15 | 17.92 | -3.73 | 17.77 | 21.37 | 25.18 | 4.43 | 4.44 | 15.09 | 14.54 | 3.87
18.27 | 20.38 | 17.58 | 2.84 | 16.13 | 25.74 | 12.06 | -7.03 | 16.13 | 20.6 | 21.97 | 2.42 | 1.4 | 14.07 | 13.31 | 2.48
18.6 | 19.83 | 13.51 | 4.41 | 14.57 | 24.5 | 11.82 | -14.47 | 14.13 | 20.23 | 19.59 | 2.45 | 3.27 | 13.88 | 8.83 | 2.73
18.94 | 17.97 | 12 | 5.09 | 14.94 | 24.51 | 15.32 | -11.97 | 14.54 | 18.29 | 17.79 | 2.59 | 2.9 | 13.5 | 10.85 | -0.54
19.27 | 18.28 | 12.15 | 1.2 | 14.11 | 23.57 | 10.28 | 2.36 | 12.89 | 17.54 | 16.49 | 2.98 | 1.57 | 11.78 | 13.85 | -5.48
19.6 | 17.37 | 10.92 | 0.41 | 12.29 | 21.91 | 9.63 | 3.99 | 12.48 | 17.29 | 15.59 | 3.67 | 2.95 | 11.2 | 8.02 | -3.23
19.94 | 15.03 | 11.01 | 3.15 | 12.12 | 20.88 | 10.35 | 0.08 | 11.15 | 16.06 | 14.4 | 2.81 | 3.42 | 11.85 | 7.6 | 0.79
20.27 | 15.22 | 10.76 | 1.32 | 11.68 | 19.64 | 8.18 | 0.99 | 9.06 | 14.73 | 14 | 2.72 | 1.64 | 10.13 | 9.79 | 2.32
20.61 | 15.29 | 8.54 | 2.39 | 10.04 | 16.54 | 5.92 | -1.48 | 9.3 | 13.02 | 12.45 | 0.58 | 0.84 | 9.87 | 8.45 | 4.73
20.94 | 14.15 | 6.45 | 0.55 | 8.87 | 13.29 | 7.35 | -1.37 | 6.88 | 13.01 | 11.43 | 0.83 | 1.13 | 9.49 | 6.95 | 1.4
21.27 | 12.89 | 6.38 | 0.59 | 9.37 | 14.54 | 7.68 | 2.79 | 6.85 | 12.4 | 10.88 | -1.31 | 3.22 | 8.21 | 7.04 | 8.89
21.61 | 11.27 | 7.26 | 0.72 | 9.22 | 16.35 | 3.26 | 0.15 | 7.8 | 10.8 | 10.03 | 1.56 | 3.34 | 8.26 | 7.56 | 4.64
21.94 | 11.96 | 5.61 | 3.23 | 8.61 | 11.69 | 5.19 | -0.53 | 5.57 | 10.31 | 7.78 | 3.01 | -0.87 | 7.58 | 5.94 | -4.4
22.28 | 11.92 | 5.97 | 1.69 | 7.91 | 10.91 | 6.83 | 1.02 | 5.5 | 9.62 | 6.43 | -3.65 | 1.86 | 6.92 | 4.51 | 1.33
22.61 | 9.69 | 6.24 | 1.57 | 6.65 | 14.3 | 4.78 | 1.69 | 5.67 | 8.74 | 6.82 | -1.64 | 3.76 | 6.26 | 2.39 | 5.78
22.95 | 8.56 | 3.88 | 5.29 | 6.71 | 12.98 | 1.18 | 0.32 | 5.01 | 7.17 | 7 | -0.3 | -0.42 | 5.29 | 3.6 | 9.04
23.28 | 9.27 | 6.08 | 1.16 | 6.95 | 11.65 | 1.74 | 1.6 | 5.57 | 6.41 | 7.45 | 1.93 | -1.88 | 5.16 | 7.01 | 6.92
23.61 | 8.13 | 5.91 | 0.11 | 5.98 | 11.63 | 7.01 | 4.62 | 5.13 | 6.55 | 6.15 | 2.76 | -2.22 | 5.75 | 3.43 | 2.03
23.95 | 7 | 4.5 | -0.6 | 4.63 | 11.38 | 4.61 | -0.91 | 4.6 | 6.4 | 5.02 | 0.11 | 2.89 | 5.4 | 3.1 | -0.64
24.28 | 7.47 | 4.34 | -0.44 | 4.33 | 10.92 | 0.7 | -3.95 | 3.21 | 5.44 | 4.37 | 1.81 | 4.84 | 4.33 | 3.61 | 2.05
24.62 | 7.08 | 2.77 | 2.43 | 4.3 | 9.15 | 2.6 | 1.24 | 3.36 | 4.99 | 3.91 | 1.39 | 4.37 | 3.68 | 3.27 | 1.25
24.95 | 6.32 | 3.13 | 1.82 | 3.91 | 7.83 | 3.86 | 0.15 | 5.01 | 3.95 | 3.35 | 1.11 | 2.07 | 3.35 | 3.46 | 1.46
25.28 | 5.32 | 2.44 | 0.54 | 4.54 | 8.26 | 2.43 | -0.11 | 3.79 | 2.51 | 3.84 | -2.88 | -2.7 | 3.33 | 3.55 | -5.84
25.62 | 4.44 | 2.63 | 0.11 | 3.01 | 7.14 | 1.53 | 0.81 | 2.16 | 2.99 | 5.92 | -1.44 | 0.93 | 2.79 | 2.6 | -8.17
25.95 | 5.37 | 3.32 | 1.22 | 2.63 | 6.36 | -1.18 | -0.3 | 3.37 | 2.97 | 2.97 | 1.3 | 1.94 | 2.99 | 1.58 | 0.47
26.29 | 2.62 | 2.08 | 0.38 | 2.99 | 5.8 | 0.21 | -2.35 | 2.53 | 2.65 | -0.48 | -1.79 | 1.27 | 2.86 | 2.63 | 2
26.62 | 0.15 | 2.84 | 2.65 | 2.22 | 4.7 | 3.92 | 1.4 | 2.77 | 2.43 | 3.47 | -0.31 | 12.47 | 1.81 | 1.85 | 3.22
26.95 | 3.24 | 2.81 | 3.15 | 2.59 | 5.14 | 1.82 | 0.55 | 2.47 | 1.91 | 4.39 | 2.87 | 1.09 | 1.7 | 2.2 | 2.37
27.29 | 3.51 | 1.03 | -3.7 | 1.35 | 4.81 | 2.57 | -0.14 | 1.33 | 0.88 | 1.78 | 3.83 | -9.29 | 1.58 | 3.78 | 1.54
27.62 | 2.15 | 0.89 | -1.83 | 0.78 | 4.15 | 2.38 | 2.35 | 2.23 | 0.88 | 1.88 | 0.11 | 2.91 | 0.94 | 2.91 | 2.22
27.96 | 2.88 | -0.01 | 1.96 | 2.2 | 3.26 | -2.12 | -2.19 | 1.76 | 0.58 | 2.06 | -0.55 | 2.3 | 2.11 | 1.52 | 2.1
28.29 | 2.88 | 1.79 | -0.62 | 1.91 | 2.61 | -1.89 | -1.49 | 1.56 | 0.07 | 0.35 | -0.28 | 0.27 | 0.3 | 1.37 | 1.1
28.62 | 0.38 | 1.31 | 0.86 | 0.86 | 3.17 | 1.06 | -3.26 | 1.68 | 0.18 | 0.37 | 0.08 | -1.15 | -0.26 | 2.24 | -0.48
28.96 | 0.05 | 2.26 | 1.86 | 1.15 | 3.07 | 1.95 | 1.5 | 2.21 | -0.22 | 2.33 | -1.37 | 0.92 | -0.04 | 2.5 | 1.99
29.29 | 1.06 | 3.9 | 2.13 | 0.2 | 0.93 | 2.17 | 1.79 | 0.58 | -0.31 | 1.16 | -4.56 | 3.87 | -0.12 | 3.04 | 5.09
29.63 | 1.25 | 0.73 | 2.52 | -0.27 | 0.63 | -1.49 | -3.07 | 0.92 | -1.12 | -0.6 | 2.01 | 1.19 | 0.61 | 1.57 | 1.2
29.96 | 1.87 | 0.2 | 1.8 | 0.4 | 1.9 | -2.37 | -0.26 | 1.35 | -0.49 | 1.51 | 1.26 | -0.44 | -0.55 | -0.36 | -1.06
30.29 | 1.37 | 1.37 | 2.41 | 1.26 | 1.58 | 1.79 | 3.09 | -0.18 | -0.07 | 1.65 | -0.56 | 0.2 | -0.1 | 1.31 | -0.51
30.63 | 1.12 | 2.37 | 0 | 0.02 | 2.49 | 0.34 | -0.97 | 1.24 | -1.38 | -1.41 | -0.32 | 2.54 | -0.52 | 0.8 | 1.36
30.96 | 0.51 | 1.76 | -0.62 | -0.25 | 1.25 | 2.3 | -2.07 | 1.71 | -1.67 | -0.15 | -0.94 | 1.19 | -0.84 | 0.19 | 1.71
31.3 | 0.64 | 0.96 | 2.41 | 0.13 | 0.38 | 1.66 | -0.01 | -2.08 | -1.75 | 1.7 | 0.1 | -1.27 | 0.34 | 2.83 | 2.74
31.63 | 0.88 | 1.59 | 1.54 | -0.43 | -0.98 | -2.14 | -0.35 | 0.32 | -0.8 | -0.03 | -0.01 | 0.9 | -0.72 | 1.78 | 2.28
31.96 | 0.39 | 1.6 | -3.07 | -0.9 | -0.49 | 0.04 | 0.9 | 4.14 | -1.2 | 0.08 | 3.18 | 4.74 | -1.98 | -1.02 | 1.54
32.3 | 0.89 | 0.44 | 2.71 | -1.46 | 1.38 | 0.42 | -1.28 | 1 | -2.92 | 1.52 | 1.01 | 2.83 | -0.9 | 1.46 | 2.74
32.63 | 0.64 | 0.69 | 5.1 | 0.08 | -1.02 | 0.67 | 1.73 | -0.3 | -2.67 | -0.25 | -1.89 | -1.95 | -0.44 | 1.9 | 0.33
32.97 | 0.52 | 0.97 | -0.37 | -1.72 | -1.21 | 0.15 | -1.86 | 2.07 | -1.92 | -0.33 | 0.13 | -2.24 | -0.55 | 0.23 | -0.61
33.3 | -0.09 | 2.81 | 0.26 | -1.03 | 0.77 | 1.6 | 1.74 | 2.03 | -1.59 | -0.47 | 2.51 | 2.63 | -1.5 | -0.2 | 4.8
33.63 | -0.58 | 0.09 | 2.39 | 0.99 | 0.11 | 2.69 | 1.65 | -0.48 | -3.41 | -1.22 | 0.31 | 6.75 | -1.69 | 0.6 | 1.43
33.97 | -1.2 | -1.19 | -1.32 | -1.4 | 0.02 | 0.05 | -0.45 | 0.45 | -1.52 | -0.5 | -3.31 | 1.91 | -0.82 | 1.68 | -1.58
34.3 | -0.06 | 0.84 | -0.7 | -3.01 | -1 | 1.3 | 2.46 | 0.46 | -0.27 | -0.75 | -2.8 | -1.67 | -1.23 | 0.62 | 2.76
34.64 | 1.18 | 0.33 | 1.83 | -1.07 | -1.66 | -1.31 | -0.72 | 0.6 | -2.83 | -0.08 | 9.82 | 2.35 | -0.26 | 1.51 | 2.21
34.97 | -0.93 | 0.38 | -0.98 | -0.58 | 0.93 | -1.81 | -2.83 | 0.1 | -3.2 | 0.06 | 2.16 | 1.49 | -0.37 | 2.94 | 2.03
35.3 | -1.17 | 2.14 | -2.25 | -2 | -0.91 | 3.03 | -0.32 | 0.67 | -3.16 | 0.21 | -9.2 | -0.97 | -1.41 | 1.17 | 0.7
35.64 | -1.41 | 1.79 | -2.68 | -1.5 | -1.69 | 2.29 | 3.7 | 0.36 | -2.2 | -1.16 | -1.97 | -0.33 | -3.19 | 0.55 | 0.36
35.97 | -0.4 | -1.7 | 6.25 | -1.48 | -1.41 | 0.38 | 0.76 | -0.11 | -1.86 | -1.46 | 2.1 | 2.59 | -1.8 | 1.63 | 1.17
36.31 | 0.23 | -0.67 | 5.54 | -1.75 | -1.85 | -2.11 | -2.91 | 1.39 | -4.03 | 1.3 | 1.75 | 3.99 | 0.45 | -0.32 | 2.12
36.64 | -1.51 | 1.72 | -1.46 | -1.63 | -0.65 | -0.78 | -1.17 | 0.45 | -4.28 | -0.11 | 0.46 | -0.06 | -1.78 | -0.85 | 4.25
36.97 | -1.13 | 0.99 | 3.19 | -1.33 | -1.32 | 4.1 | 2.48 | 1.26 | -3.6 | -1.83 | 0.95 | -0.56 | -1.75 | 1.65 | 1.98
37.31 | -0.25 | 0.36 | 2.74 | 0.13 | -1.99 | 2.92 | 1.73 | 0.14 | -3.72 | -0.89 | 1.35 | 2.18 | -1.19 | 1.4 | -0.34
37.64 | -0.36 | 1.39 | -1.06 | -0.64 | -1.37 | -1.98 | -0.29 | -0.58 | -3.28 | 1.03 | -0.27 | 1.95 | -1.31 | 1.41 | 0.41
37.98 | -1.35 | 1.48 | -0.22 | -3.8 | -1.1 | -2.09 | -1.51 | 0.23 | -3.76 | -0.17 | -1.65 | 2.69 | -0.75 | 1.77 | 2.1
38.31 | -2.34 | -0.27 | 1.82 | -1.94 | -1.18 | -0.29 | 2.94 | 1.35 | -3.71 | -0.78 | -0.81 | 1.82 | -2.13 | -0.73 | 2.37
38.65 | -1.45 | 0.03 | 2.99 | -0.86 | -1.03 | 0.56 | 0.6 | 0.79 | -2.35 | 0.28 | 0.41 | 1.66 | -3.07 | 0.17 | 0.78
38.98 | -1.06 | 0.93 | -3.14 | -2.09 | -1.24 | 5.33 | -5.01 | -0.49 | -2.32 | -0.09 | 4.69 | 1.82 | -0.57 | 2.08 | 2.41
39.31 | -1.55 | 0.4 | -3.49 | -1.39 | -3.21 | -0.05 | -1.39 | -0.57 | -3.61 | -0.01 | -1.35 | 2.68 | -0.03 | 0.64 | 4.3
39.65 | -0.54 | -1.78 | 4.11 | -1.59 | -1.74 | -5.54 | -0.34 | -0.82 | -2.75 | -1.39 | -1.53 | 3.67 | -2.37 | 0.56 | 1.97
39.98 | 1.55 | 0.41 | 1.05 | -0.81 | -0.42 | 5.53 | -0.24 | 0 | -1.86 | -1.26 | 1.39 | 2.16 | -1.72 | 2.91 | 0.1
40.32 | 0 | 0 | 0 | -0.76 | -1.21 | 0 | 0 | 3.57 | 0 | 0 | 0 | 0 | -0.16 | 0 | 0
40.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0