## Sheet1
CAT instrument run at San Francisco General Hospital Department of Surgical Research
2011-10-06
Objective: run control data comparing different CAT reagents with coag normal plasma
and coag abnormal plasmas on CAT serial number 374-2874
looking at PPP 1pM TF reagent vs PPP 5pM and PPP 20pM TF also clinical samples with and without TM
original data file name: 00_111006A_01.dat
final volume (ul) |  |  |  | 90
trigger or calibrator reagent to add to each well (ul) |  |  |  | 15
FluCa to add to each well (ul) |  |  |  | 15
Trigger reagent used (e.g. PPP Low, PPP 5pM, PPP High) |  |  |  | see below
Volume Fluo-Buffer to add (ul) |  |  |  | 2600
Volume Fluo-Substrate to add (ul) |  |  |  | 65
INSTRUCTIONS: | replace example plate map from below with actual plate map used during demo/training run | [11 empty] | replace reagents used below with actual trigger reagents used during demo/training run
| Trigger | Trigger | Trigger | Calibrator | Calibrator | Calibrator | Trigger | Trigger | Trigger | Calibrator | Calibrator | Calibrator | Left Trigger | Right Trigger
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | norm | norm | norm | norm | norm | norm | 541a | 541a | 541a | 541a | 541a |  | PPP low (1pM TF) | PPP (5pM TF)
B | norm | norm | norm |  |  |  | 541a | 541a | 541a |  |  |  | PPP (5pM TF) | PPP (5pM TF + TM)
C | norm | norm | norm |  |  |  | 605a | 605a | 605a | 605a | 605a |  |  | PPP (5pM TF)
D | abn | abn | abn | abn | abn | abn | 605a | 605a | 605a |  |  |  | PPP low (1pM TF) | PPP (5pM TF + TM)
E | abn | abn | abn |  |  |  | 1220a | 1220a | 1220a | 1220a | 1220a |  | PPP (5pM TF) | PPP (5pM TF)
F | abn | abn | abn |  |  |  | 1220a | 1220a | 1220a |  |  |  |  | PPP (5pM TF + TM)
G | 436a | 436a | 436a | 436a | 436a | [7 empty] | PPP (5pM TF)
H | 436a | 436a | 436a | [9 empty] | PPP (5pM TF + TM)
CONCLUSION:
observed general increase in ETP, VI, peak height with between comparable plasmas as a function of [TF], decreases were seen by addition of TM
INSTRUCTIONS: | replace yellow cells below with rows 3-15 and columsn B-end from .ana file
in order to summarize data and calculate the velocity index (use copy/paste special/values)
test plate:
Groupname | 14488 1PM 1 | 14488 5PM 2 | 14488 20 PM 3 | 14492 1PM 4 | 14489 1PM 5 | 14489 5PM 6 | 14489 20 PM 7 | 14492 5PM 8 | 14490 1PM 9 | 14490 5PM 10 | 14490 20PM 11 | 14492 20PM 12 | 14491 1PM 13 | 14491 5PM 14 | 14491 20PM 15
Lagtime | 3.83 | 2.44 | 1.33 | 6.33 | 4.83 | 2.44 | 1.33 | 3.11 | 6.78 | 3.67 | 1.89 | 1.67 | 5.33 | 3.33 | 1.67
LagtimeSD | 0.17 | 0.16 | 0 | 0.33 | 0.17 | 0.16 | 0 | 0.16 | 0.16 | 0 | 0.16 | 0 | 0 | 0 | 0
ETP | 596 | 1198.33 | 1555.33 | 301.5 | 487.5 | 1296.67 | 1749.67 | 586.67 | 445.33 | 1429.67 | 1877 | 757 | 720 | 1151.33 | 1088.33
ETPSD | 12 | 35.74 | 12.47 | 6.5 | 14.5 | 17.44 | 11.12 | 1.7 | 6.8 | 20.85 | 88.46 | 17.91 | 21.74 | 33.17 | 44.34
Peak | 47.29 | 179.13 | 340.69 | 26.23 | 41.05 | 151.4 | 371.2 | 65.68 | 39.17 | 129.55 | 372.68 | 171.58 | 61.92 | 170.4 | 268.76
PeakSD | 0.88 | 2 | 3.73 | 0.64 | 1.58 | 4.07 | 1.89 | 4.61 | 0.7 | 4.35 | 4.2 | 0.92 | 1.95 | 10.01 | 5.19
ttPeak | 10 | 6 | 3.33 | 11.83 | 11.17 | 6.44 | 3.33 | 7.22 | 12.78 | 8.22 | 4 | 3.67 | 10.11 | 6.44 | 3.56
ttPeakSD | 0.33 | 0 | 0 | 0.5 | 0.17 | 0.16 | 0 | 0.31 | 0.16 | 0.16 | 0 | 0 | 0.16 | 0.16 | 0.16
StartTail | 29.5 | 24.67 | 18.67 | 32 | 27.5 | 28.67 | 20.33 | 32.33 | 29.67 | 36 | 22.67 | 18 | 36 | 25.67 | 18.33
StartTailSD | 0.5 | 1.25 | 0.47 | 0 | 0.5 | 0.47 | 0.47 | 1.25 | 0.47 | 0 | 0.94 | 0 | 0 | 1.7 | 0.47
Edited | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Active Wells | TG :A01:A03 Calib :B01:B02:B03 | TG :C01:C02:C03 Calib :D01:D02:D03 | TG :E01:E02:E03 Calib :F01:F02:F03 | TG :G02:G03 Calib :H01:H02:H03 | TG :A05:A06 Calib :B04:B05:B06 | TG :C04:C05:C06 Calib :D04:D05:D06 | TG :E04:E05:E06 Calib :F04:F05:F06 | TG :G04:G05:G06 Calib :H04:H05:H06 | TG :A07:A08:A09 Calib :B07:B08:B09 | TG :C07:C08:C09 Calib :D07:D08:D09 | TG :E07:E08:E09 Calib :F07:F08:F09 | TG :G07:G08:G09 Calib :H07:H08:H09 | TG :A10:A11:A12 Calib :B10:B11:B12 | TG :C10:C11:C12 Calib :D10:D11:D12 | TG :E10:E11:E12 Calib :F10:F11:F12 | TG :F04:F05:F06 Calib :F10:F11:F12 | TG :F07:F08:F09 Calib :F10:F11:F12 | TG :G04:G05:G06 Calib :G10:G11:G12 | TG :G07:G08:G09 Calib :G10:G11:G12 | TG :H04:H05:H06 Calib :H10:H11:H12 | TG :H07:H08:H09 Calib :H10:H11:H12
Velocity Index (nM/min) | 7.6645 | 50.3174 | 170.345 | 4.7691 | 6.4748 | 37.85 | 185.6 | 15.9805 | 6.5283 | 28.4725 | 176.6256 | 85.79 | 12.954 | 54.791
% ETP inhib by TM | [7 empty] | 33.53% |  | 321% |  | 40.33%
INSTRUCTIONS: | replace yellow cells below with rows 17-end and columns B-end from .ana file
in order to graph CAT data (use copy/paste special/values)
time | 14488 1PM 1 | 14488 5PM 2 | 14488 20 PM 3 | 14492 1PM 4 | 14489 1PM 5 | 14489 5PM 6 | 14489 20 PM 7 | 14492 5PM 8 | 14490 1PM 9 | 14490 5PM 10 | 14490 20PM 11 | 14492 20PM 12 | 14491 1PM 13 | 14491 5PM 14 | 14491 20PM 15
1 | 0.37 | 0.71 | 3.97 | 0.19 | -0.19 | 0.26 | 3.77 | 0.06 | -0.31 | -0.37 | 0.19 | 0.11 | -0.52 | -0.28 | 0
1.33 | 0.37 | 1.8 | 24.93 | -0.19 | -0.28 | 0.84 | 30.27 | 0.35 | -0.31 | -0.06 | 1.34 | 3.49 | -0.67 | -0.28 | 0.5
1.67 | 0.74 | 4.49 | 79.99 | 0.09 | 0 | 2.92 | 98.13 | 0.41 | 0.2 | 0.61 | 9.77 | 19.25 | -0.1 | 0.34 | 11.67
2 | 1.02 | 10.4 | 167.25 | 0.19 | 0.57 | 8.12 | 196.73 | 1.12 | 0.57 | 0.55 | 40.15 | 51.26 | 0.42 | 0.39 | 55.07
2.33 | 1.67 | 20.95 | 257.4 | 0.28 | 0.56 | 16.76 | 292.74 | 2.65 | 0.44 | 1.1 | 104.55 | 92.33 | 0.42 | 1.12 | 134.11
2.67 | 2.5 | 37.13 | 320.62 | 0.75 | 0.37 | 29.46 | 358.84 | 5.18 | 0.62 | 2.87 | 194.09 | 130.54 | 0.42 | 4.8 | 217.57
3 | 3.41 | 57.52 | 346.95 | 0.56 | 0.74 | 45.2 | 376.78 | 9.24 | 0.62 | 5.99 | 282.6 | 157.52 | 0.1 | 11.61 | 268.42
3.33 | 4.79 | 79.97 | 337.16 | 0.17 | 1.57 | 62.23 | 365.9 | 14.3 | 0.36 | 10.52 | 347.71 | 170.67 | 0.05 | 23.69 | 278.69
3.67 | 6.63 | 102.17 | 310.62 | 0.27 | 2.03 | 79.56 | 342.48 | 20.79 | 0.54 | 16.64 | 374.12 | 169.85 | 0.83 | 42.28 | 261.82
4 | 9.02 | 123.45 | 286.04 | 0.74 | 2.57 | 95.92 | 311.56 | 29.07 | 1.04 | 25.91 | 370.13 | 162.61 | 1.66 | 65.31 | 228.35
4.33 | 11.86 | 141.66 | 258.65 | 0.92 | 3.48 | 110.55 | 283.63 | 36.98 | 1.47 | 37.8 | 354.28 | 150.14 | 2.7 | 89.73 | 201.58
4.67 | 15.43 | 156.51 | 230.55 | 1.2 | 4.76 | 122.5 | 253.49 | 44.28 | 1.83 | 50.59 | 328.34 | 134.76 | 3.94 | 112.69 | 184.27
5 | 18.98 | 167.63 | 205.27 | 1.76 | 6.41 | 133.38 | 227.96 | 50.57 | 2.06 | 64.18 | 297.58 | 120.42 | 5.8 | 132.71 | 163.33
5.33 | 22.42 | 175.06 | 185.37 | 2.12 | 8.32 | 141.77 | 206.2 | 55.73 | 2.41 | 77.9 | 269.83 | 104.15 | 8.86 | 148.72 | 142.74
5.67 | 26.51 | 178.69 | 169.38 | 2.3 | 10.78 | 147.71 | 186.89 | 60.28 | 3.01 | 89.64 | 245.89 | 91.81 | 12.8 | 160.87 | 126.07
6 | 30.1 | 178.77 | 149.53 | 2.56 | 13.79 | 150.92 | 165.58 | 63 | 3.73 | 99.96 | 221.49 | 81.82 | 17.67 | 168.52 | 112.15
6.33 | 33.59 | 175.85 | 131.48 | 3.78 | 16.5 | 152.49 | 149.09 | 64.04 | 4.57 | 108.98 | 199.47 | 73.28 | 23.24 | 170.84 | 97.06
6.67 | 36.5 | 168.38 | 119.41 | 4.88 | 19.47 | 149.27 | 137.34 | 65.29 | 5.65 | 116.16 | 181.83 | 65.77 | 28.97 | 167.4 | 85.38
7 | 38.64 | 158.49 | 106.73 | 5.89 | 22.43 | 146.26 | 123.86 | 66.19 | 7.16 | 121.71 | 163.58 | 57.04 | 35.35 | 161.92 | 76.76
7.33 | 40.88 | 147.9 | 95.3 | 7.46 | 25.48 | 144.87 | 110.34 | 64.9 | 9.1 | 125.18 | 148.85 | 50.94 | 40.82 | 157.31 | 67.86
7.67 | 42.73 | 136.94 | 86.58 | 9.4 | 28.51 | 141 | 97.98 | 63.73 | 11.21 | 128.97 | 135.74 | 44.84 | 46.01 | 150 | 59.83
8 | 44.97 | 126.29 | 76.66 | 11.52 | 30.49 | 137.74 | 89.58 | 63.44 | 13.99 | 130.85 | 122.21 | 37.72 | 50.06 | 140.74 | 52.61
8.33 | 46.05 | 116.82 | 67.88 | 13.92 | 33.14 | 131.74 | 80.26 | 61.03 | 16.56 | 129.19 | 113.91 | 33.79 | 53.46 | 132.27 | 47.2
8.67 | 46.27 | 105.66 | 62.36 | 16.11 | 35.68 | 123.69 | 73.22 | 57.69 | 19.31 | 127.22 | 109.3 | 31.6 | 56.41 | 121.09 | 42.29
9 | 47.07 | 96.82 | 56.71 | 18.49 | 36.5 | 116.03 | 67.94 | 56.11 | 22.73 | 126.25 | 97.36 | 27.28 | 57.78 | 110.4 | 37.87
9.33 | 47 | 87.22 | 50.27 | 20.67 | 37.62 | 110.41 | 61.29 | 53.46 | 25.75 | 125.55 | 74.28 | 22.93 | 59.82 | 101.54 | 33.76
9.67 | 46.83 | 78.58 | 45.12 | 21.98 | 39.31 | 103.89 | 52.5 | 50.27 | 28.62 | 124.76 | 66.8 | 20.5 | 62.39 | 94.59 | 29.34
10 | 47.86 | 73 | 39.47 | 23.19 | 39.94 | 96.96 | 46.57 | 47.56 | 30.66 | 122.1 | 69.57 | 18.93 | 62.55 | 87.31 | 25.98
10.33 | 47.99 | 65.6 | 35.9 | 24.41 | 40.97 | 90.88 | 45.25 | 44.83 | 32.63 | 116.77 | 63.96 | 17.42 | 60.62 | 78.4 | 25
10.67 | 46.35 | 57.8 | 31.15 | 25.52 | 41.12 | 84.24 | 42.93 | 43.12 | 35.16 | 113.13 | 57.78 | 15.02 | 60.57 | 70.2 | 22.05
11 | 45.9 | 54.52 | 28.93 | 25.67 | 40.88 | 78.68 | 40.24 | 39.72 | 36.09 | 109.41 | 53.56 | 13.42 | 60.06 | 61.51 | 17.87
11.33 | 45.96 | 51.12 | 28.2 | 25.73 | 41.44 | 73.47 | 33.24 | 36.17 | 36.82 | 104.21 | 50.69 | 11.29 | 58.77 | 58.92 | 17.13
11.67 | 45.52 | 44.15 | 27.29 | 26.07 | 41.01 | 66.82 | 25.51 | 34.4 | 38.53 | 99.68 | 42.49 | 9.82 | 57.4 | 55.7 | 15.21
12 | 44.99 | 39.56 | 23.12 | 26.42 | 39.9 | 61.21 | 27.03 | 31.18 | 39.13 | 95.8 | 41.15 | 9.38 | 56.2 | 48.58 | 14.03
12.33 | 43.04 | 35.17 | 19.37 | 25.8 | 39.09 | 56.32 | 37.15 | 30.4 | 39.08 | 90.92 | 39.9 | 9.02 | 54.91 | 42.92 | 20.75
12.67 | 41.4 | 33.02 | 17.94 | 25.57 | 39.47 | 52.32 | 31.96 | 25.33 | 38.91 | 85.34 | 32.51 | 7.68 | 53.15 | 38.79 | 17.87
13 | 40.67 | 31.12 | 16.3 | 25.34 | 39.66 | 49.12 | 12.91 | 22.65 | 39.21 | 83.34 | 30.29 | 3.5 | 51.61 | 38.66 | 2.78
13.33 | 40.78 | 27.22 | 13.93 | 23.94 | 37.74 | 45.26 | 16.96 | 25.83 | 39.04 | 79.13 | 29.28 | 4.48 | 49.17 | 33.96 | 2.28
13.67 | 40.88 | 25.58 | 12.86 | 24.01 | 36.23 | 42.4 | 27.63 | 23.11 | 38.16 | 71.9 | 25.34 | 6.43 | 46.46 | 28.3 | 5.81
14 | 38.2 | 23.43 | 15.45 | 23.69 | 35.74 | 38.86 | 22.84 | 20.45 | 37.87 | 69.1 | 22.57 | 5.01 | 43.41 | 27.59 | 5.37
14.33 | 36.15 | 19.88 | 13.89 | 22.78 | 35.55 | 34.76 | 4.65 | 19.55 | 37.33 | 67.78 | 23.22 | 4.04 | 42.18 | 26.8 | 6.57
14.67 | 35.13 | 17.3 | 9.89 | 21.88 | 33.73 | 32.57 | -6.36 | 16.31 | 36.52 | 61.8 | 18.69 | 3.9 | 39.91 | 23.59 | 7.03
15 | 31.49 | 16.01 | 5.63 | 20.68 | 32.95 | 30.44 | 1.02 | 16.52 | 35.72 | 57.08 | 15.87 | 3.37 | 38.32 | 18.73 | 5.27
15.33 | 29.3 | 15.85 | 10.74 | 19.58 | 31.44 | 28.48 | 10.5 | 16.49 | 34.53 | 55.63 | 16.79 | 1.87 | 39.17 | 18.46 | 4.82
15.67 | 29.26 | 13.59 | 11.77 | 19.57 | 29.32 | 27.13 | 13.05 | 13.78 | 33.74 | 51.87 | 14.43 | 1.65 | 37.35 | 19.23 | 4.88
16 | 29.98 | 11.68 | 14.78 | 19.27 | 30.2 | 23.47 | 8.09 | 13.57 | 32.28 | 49.28 | 13.52 | 4.07 | 35.64 | 17.82 | 9.64
16.33 | 29.66 | 14.75 | 16.34 | 17.88 | 27.65 | 18.05 | 6.93 | 12.8 | 31.31 | 45.84 | 14.49 | 2.18 | 33.78 | 13.77 | 12.77
16.67 | 27.75 | 11.53 | 9.65 | 16.69 | 25.54 | 19.87 | 8.97 | 12.45 | 29.86 | 44.79 | 12.21 | 0.45 | 32.41 | 13.37 | 3.08
17 | 27.01 | 6.34 | 4.94 | 16.6 | 26.75 | 20.36 | 7.37 | 10.55 | 28.56 | 42.16 | 7.51 | 1.59 | 30.97 | 13.57 | -6.35
17.33 | 25.63 | 7.9 | -10.05 | 16.71 | 24 | 15.82 | 5.79 | 9.64 | 29.03 | 36.58 | 7.49 | 2.05 | 29.38 | 10.68 | -4.51
17.67 | 23.5 | 8.74 | -6.23 | 15.22 | 22.8 | 18.07 | 4.18 | 10.05 | 27.05 | 35.66 | 10.3 | 0.99 | 28.9 | 11.29 | 0.34
18 | 23.21 | 7.22 | 4.75 | 13.93 | 21.89 | 13.84 | 3.97 | 9.62 | 25.62 | 36.56 | 11.73 | 0.47 | 26.8 | 11.15 | 9.25
18.33 | 22.48 | 4.77 | 8.12 | 14.06 | 19.24 | 12.4 | 2.81 | 7.37 | 24.27 | 33.16 | 7.28 | 1.46 | 26.13 | 9.23 | 9.55
18.67 | 20.88 | 4.62 | 9.48 | 13.68 | 18.82 | 12.04 | 4.88 | 7.44 | 22.65 | 30.08 | 0.19 | 1.55 | 25.06 | 7.8 | -0.71
19 | 19.08 | 4.86 | 5.56 | 12.2 | 16.23 | 9.66 | 0.79 | 8.49 | 22.14 | 27.48 | 5.96 | 0.4 | 21.3 | 7.76 | -6.62
19.33 | 17.92 | 5.34 | 11.77 | 11.83 | 14.74 | 10.69 | -2.42 | 6.08 | 20.38 | 26.13 | 4.58 | -0.51 | 21.32 | 7.45 | -3.21
19.67 | 16.88 | 5.17 | 8.34 | 11.56 | 16.5 | 9.88 | 4.51 | 5.49 | 18.92 | 25.74 | 2.3 | 1.41 | 21.58 | 6.26 | 0.93
20 | 16.17 | 4.55 | -2.83 | 10.18 | 15.03 | 8.6 | 4.87 | 4.92 | 15.52 | 23.32 | 6.15 | 0.5 | 18.81 | 6.65 | 0.67
20.33 | 15.24 | 2.26 | 0.03 | 10.13 | 12.63 | 9.1 | 0.99 | 4.64 | 13.56 | 22.37 | 5.36 | -0.87 | 17.27 | 5.73 | 2.93
20.67 | 12.88 | -0.64 | 1.95 | 10.07 | 13.11 | 7.39 | 1.27 | 4.21 | 14.96 | 20.35 | 4.14 | 0.98 | 17.27 | 4.08 | -1.49
21 | 12.72 | 4.54 | -8.8 | 8.6 | 12.08 | 2.76 | 5.4 | 4.57 | 14.67 | 20.16 | 2.45 | 1.06 | 16.94 | 4.47 | -0.95
21.33 | 12.57 | 5.75 | -7.55 | 7.13 | 11.28 | 7.84 | -0.66 | 5.42 | 13.74 | 19.26 | 0.53 | -0.24 | 14.65 | 4.95 | 0.85
21.67 | 11.32 | 1.63 | 0.79 | 8.21 | 11.12 | 7.93 | -1.24 | 4.49 | 12.25 | 18.14 | -0.05 | -0.38 | 14.53 | 3.57 | 0.43
22 | 9.4 | 0.6 | 1.86 | 8.77 | 8.91 | 7.09 | 0.47 | 3.63 | 11.06 | 18.9 | 3.37 | 0.78 | 13.47 | 2.89 | 2.1
22.33 | 7.93 | 1.1 | 5.25 | 7.09 | 7.48 | 6.17 | 3 | 3.41 | 11.2 | 16.16 | 1.48 | 1.4 | 13.34 | 3.81 | 3.05
22.67 | 7.58 | 2.98 | 1.34 | 7.05 | 7.56 | 2.83 | 4.23 | 4.86 | 10.07 | 15.14 | 1.3 | 0.48 | 12.48 | 6.33 | 1.77
23 | 7.01 | 0.22 | -1.42 | 6.4 | 7.09 | 4.57 | -5.27 | 1.96 | 9.03 | 14.89 | 1.35 | -0.67 | 10.95 | 4.66 | -0.31
23.33 | 6.66 | -0.57 | 2.45 | 4.94 | 7.29 | 5.16 | -0.24 | 1.24 | 8.55 | 11.94 | -1.84 | -0.9 | 11.82 | 1.13 | 1.78
23.67 | 4.73 | 1.5 | 4.71 | 6.04 | 5.85 | 2.28 | 2.38 | 2.91 | 7.8 | 13.93 | 3.01 | -0.04 | 9.96 | 5.04 | 0.14
24 | 3.73 | 1.91 | 4.1 | 5.49 | 4.19 | 1.55 | 1.15 | 1.6 | 6.62 | 11.89 | 2.55 | 1.06 | 9.07 | 11.86 | -1.94
24.33 | 4.54 | -0.81 | 0.06 | 4.13 | 4.95 | 4.54 | 1.68 | 2.04 | 6.37 | 9.58 | -4.05 | 1.53 | 9.47 | 7.81 | 2.15
24.67 | 4.31 | -0.24 | 1.26 | 4.62 | 3.41 | 3.17 | 0.38 | 1.61 | 6.2 | 11.9 | -0.49 | -0.8 | 8.07 | 0.24 | 1.3
25 | 2.48 | 2.62 | 3.15 | 4.39 | 3.09 | 2.45 | 1.42 | 1.32 | 5.03 | 12.52 | 0.53 | -0.48 | 5.77 | 1.99 | -1.27
25.33 | 2.29 | 1.07 | 3.19 | 4.47 | 3.18 | 2.67 | -0.67 | 2.13 | 3.72 | 10.74 | -1.28 | -0.47 | 6.79 | 7.52 | -0.31
25.67 | 3.56 | -1.09 | 2.89 | 3.73 | 1.97 | 2.29 | -2.76 | 2.35 | 2.85 | 16.06 | 2.56 | 0.24 | 8.35 | 0.4 | -1.93
26 | 1.5 | -1.67 | 2.57 | 2.88 | 1.54 | 1.69 | -0.41 | 1.4 | 3.71 | 18.64 | -2.57 | 0.72 | 7.47 | -6.7 | -1.7
26.33 | 0.72 | -1.71 | -3.22 | 2.87 | 2.1 | 2.4 | 5.56 | 0.75 | 3.49 | 12.18 | -0.36 | 0.1 | 7.15 | -5.3 | 2.62
26.67 | 1.22 | -0.97 | 1.99 | 2.45 | 1.33 | 4.07 | -1.87 | 1.04 | 1.9 | 6.4 | 3.64 | 0.81 | 7 | -0.49 | 1.43
27 | 0.56 | -0.79 | 8.09 | 2.12 | -1.85 | -1.1 | 5.03 | 0.96 | 1.61 | -2.55 | -0.49 | 0.42 | 6.32 | -0.1 | 0.34
27.33 | 0.23 | -0.91 | -0.37 | 2.32 | 0.4 | -1.74 | -3.65 | 0.67 | 1.91 | -1.39 | -0.83 | 0.12 | 4.2 | -1.3 | 0.54
27.67 | -0.78 | 0.31 | -0.99 | 2.1 | 1.73 | 2.37 | -14.48 | 1.2 | 0.61 | 6.74 | -2.19 | -0.42 | 5.15 | 11.46 | -0.17
28 | -0.85 | -1.27 | 1.1 | 1.78 | 0.74 | 1.4 | 3.76 | 0.91 | -0.02 | 8.4 | 0.23 | 0.44 | 5.72 | 7.36 | 2.21
28.33 | 0.34 | -2.02 | -0.11 | 1.98 | 0.42 | 2.2 | -0.67 | 1.05 | -0.15 | 7.05 | -2.03 | -1.04 | 3.88 | 0.27 | 1.01
28.67 | -0.33 | 1.07 | 3.9 | 0.32 | -1.11 | 2.7 | -2.92 | 1.21 | -0.12 | 3.19 | -4.03 | -1.97 | 3.93 | -2.51 | -3.36
29 | -1.92 | 0.53 | 6.32 | 1.25 | -1.43 | 0.16 | 2.97 | 0.4 | 0.05 | 7.57 | -2.36 | 1.03 | 4.76 | -7.86 | -1.03
29.33 | -0.94 | -1.09 | 2 | 1.76 | -1.95 | -0.41 | -1.11 | 2.08 | -1.9 | 8.2 | 0.85 | 1.42 | 4.64 | -2.32 | 2.08
29.67 | -0.21 | -0.21 | 3.12 | 0.62 | -2.24 | 0.58 | -5.45 | 0.91 | -1.71 | 13.75 | -0.58 | -0.62 | 3.4 | -1.96 | -1.17
30 | -1.94 | -1.61 | 1.9 | 1.55 | -2.22 | -0.38 | -0.06 | -0.18 | -0.15 | 15.3 | -0.64 | -1.64 | 2.36 | 0.42 | -0.74
30.33 | -3.52 | -0.71 | 0.64 | 1.44 | -1.96 | 2.61 | 3.83 | 0.12 | -1.07 | 4.6 | -1.53 | -0.36 | 3.41 | 3.68 | -0.46
30.67 | -2.28 | 8.39 | 3.19 | 0.61 | -1.25 | 3.89 | -0.78 | -0.38 | -1.92 | 5.75 | -2.52 | 0.99 | 4.6 | -1.06 | -0.56
31 | -1.31 | 7.49 | 2.71 | -0.53 | -1.22 | 0.82 | -1.62 | 1.68 | -2.69 | 4.82 | -1 | 0.28 | 3.71 | -1.74 | -0.77
31.33 | -2.68 | -0.71 | 1.38 | 0.61 | -1.31 | 2.83 | 3.81 | 1.46 | -1.4 | 5.26 | -3.8 | -2.09 | 3.37 | 2.5 | 0.32
31.67 | -4.52 | -1.31 | 3.64 | 1.13 | -1.73 | 1.35 | 1.1 | 0.36 | -0.41 | 4.88 | 2.82 | 1.18 | 3.02 | 4.22 | 2.36
32 | -2.56 | -2.37 | 4 | 0.61 | -4.17 | -0.63 | -2.98 | 0.28 | -2.59 | 3.57 | 1.72 | 2.29 | 2.87 | 1.72 | 1.57
32.33 | -2.42 | -1.98 | -1.71 | -0.33 | -4.34 | -1.61 | -3.21 | -0.23 | -3.8 | 5.96 | -6.14 | -1.44 | 3.74 | 1.58 | 0.19
32.67 | -4.25 | -12.5 | 1.14 | -1.15 | -1.35 | -2.27 | -1.96 | 4.69 | -3.23 | 4.44 | -5.14 | -0.55 | 2.69 | 0.85 | -1.98
33 | -3.7 | -10.16 | 3.97 | -0.83 | -2.25 | 2.33 | 0.82 | 0.66 | -3.18 | 1.21 | -0.35 | -0.23 | 3.05 | -0.11 | -0.21
33.33 | -3.66 | 1.34 | -0.34 | -0.19 | -4.25 | 2.53 | -0.81 | -3.95 | -2.98 | -5.44 | 1.46 | -0.38 | 2.28 | -2.16 | 2.21
33.67 | -2.54 | -0.1 | 5.7 | 0.43 | -3.5 | -0.04 | -2.15 | -0.38 | -3.97 | -5.28 | -4.03 | -0.77 | 1.15 | -0.27 | -1.25
34 | -3.8 | -0.52 | 6.28 | -0.19 | -2.1 | 1.19 | 0.06 | 0.83 | -3.02 | 2.44 | -3.52 | -0.92 | 3.52 | 4.23 | -3.17
34.33 | -2.91 | 6.8 | 1.61 | -0.61 | -2.98 | 1.46 | 2.74 | 0.62 | -1.56 | 4.02 | -1.78 | 0.45 | 2.79 | -0.47 | -0.06
34.67 | -2.26 | 9.37 | 3.68 | 0.03 | -3.49 | -0.53 | -0.4 | -0.21 | -3.69 | 4.53 | 0.04 | 0.78 | 2.09 | -1.83 | 0.19
35 | -5.21 | -4.08 | 1.84 | -0.07 | -4.03 | 0.2 | -1.25 | 2.65 | -4.6 | 4.25 | -0.57 | -0.1 | 0.76 | 1.48 | -1.19
35.33 | -4.67 | -0.95 | 3.14 | -0.59 | -3.87 | 0.81 | 0.9 | 0.32 | -2.9 | 4.23 | -3.31 | -0.49 | 1.98 | 0.12 | -0.48
35.67 | -1.84 | 5.23 | 3.57 | -0.89 | -3.48 | 0.83 | -0.49 | -1.26 | -3.23 | 2.88 | -3.52 | 0.56 | 2.79 | -0.01 | 1.03
36 | -2.16 | -8.84 | 2.51 | -0.99 | -2.75 | 1.15 | -2.72 | 1.68 | -4.53 | 2.63 | -4.51 | 0.08 | 1.34 | 0.73 | 2.08
36.33 | -5.01 | -11.42 | 3.72 | -0.56 | -2.6 | 1.67 | 1.58 | 0.19 | -3.04 | 4.65 | 2.97 | -0.8 | 1.78 | 2.02 | -0.22
36.67 | -5.78 | -1.17 | 1.6 | -0.35 | -4.05 | -0.14 | 1.2 | 0.27 | -3.44 | 3.2 | 3.81 | 0.5 | 1.1 | -0.31 | -2.11
37 | -4.38 | -0.79 | -0.17 | -0.86 | -2.61 | 1.2 | -1.57 | 1.24 | -3.39 | 4.41 | -1.95 | 0.99 | 1.76 | -1.55 | 0.3
37.33 | -4.2 | -0.89 | 2.96 | -1.17 | -3.5 | 10.64 | 2.24 | 0.28 | -2.89 | 7.62 | -2.45 | -0.46 | 1.47 | 3.31 | 0.39
37.67 | -4.52 | -0.18 | 3.49 | -0.42 | -5.07 | 6.46 | -1.13 | 0.21 | -4.87 | 1.31 | -0.63 | -0.69 | 1.76 | 0.69 | 0.75
38 | -4.22 | -1.05 | 1.76 | -1.05 | -5.59 | -2.48 | -3.15 | 0.65 | -4.43 | 2.56 | -1.39 | -0.12 | 3.22 | -1.07 | -0.76
38.33 | -2.57 | 0.28 | 0.91 | -0.83 | -3.67 | -0.31 | -1.46 | 0.59 | -4.38 | 3.63 | -1.59 | -0.51 | 2.38 | 1.93 | 1.36
38.67 | -3.37 | 0.3 | 5.84 | -0.71 | -2.49 | 7.03 | 1.07 | 0.45 | -5.07 | 0.73 | -3.91 | -1.23 | 2.44 | 3.14 | 0.39
39 | -4.19 | 0.45 | 5.36 | -1.44 | -5.69 | 9.97 | -0.75 | 0.67 | -3.57 | 3.98 | -3.73 | -0.49 | 0.64 | -0.41 | -3.57
39.33 | -3.28 | 12.15 | -0.1 | -0.17 | -4.1 | 6.99 | -2.86 | -0.55 | -3.59 | 4.14 | -2.75 | 0 | 0.29 | -3.12 | -1.44
39.67 | -4.8 | 7.07 | 5.43 | -1 | -2.57 | 1.15 | -0.24 | 0.45 | -3.77 | 1.77 | -1.81 | -0.15 | -0.08 | 1.13 | 1.25
40 | -4.31 | 0.94 | 3.74 | -1.98 | -5.77 | 2.67 | -0.22 | 0.68 | -4.44 | -0.08 | 1.69 | 0.91 | 1.71 | 1.82 | -1.33
40.33 | 0 | 0 | 0 | -1.12 | -5.89 | 0 | 0 | 0 | 0 | 0 | -4.52 | 0 | 0 | 0 | 0
40.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0